## Consolidated
Bill of Quantities (BOQ)
No. | ITEM DESCRIPTION |  | UOM | QUANTITY | UNIT PRICE (in PHP or USD) | TOTAL PRICE (in PHP or USD)
Annex A-1 Daan Sur Potable Water Supply PV-Pumping Project
A. CIVIL WORKS
1.) | Clearing of project site: Spring Box (12 sq. m.), Intermediate Tank (16 sq.m.) & Solar PV ground mounted (2 X 20 sq. m.) |  | sq m | 68
Sub-total
2.) | Construction of Spring box
1 |  | Portland Cement (40kgs) | bag | 18
2 |  | Sand | cu m. | 0.9
3 |  | Gravel | cu m. | 1.8
4 |  | 12 mm x 6 m def. round bars | lengths | 50
5 |  | 10 mm x 6 m def. round bars | lengths | 50
6 |  | GI Tie Wires | kgs. | 3
7 |  | Form works | lot | 1
Sub - total
3.) | Construction of transmission pipeline, fittings and anchor supports
1 |  | Portland Cement (40kgs) | bag | 50
2 |  | Sand | cu m. | 2.5
3 |  | Gravel | cu m. | 5
4 |  | 12 mm x 6 m def. round bars | lengths | 50
5 |  | 10 mm x 6 m def. round bars | lengths | 50
6 |  | GI pipe1 1 1/4" dia. | lengths | 176
7 |  | Fittings: Adapters, couplings, elbow, valves, etc. | lot | 1
9 |  | GI Tie Wires | kgs. | 4
|  | Form works | lot | 1
Sub - total
4.) | Construction of water tank (Intermediate) Ferrocement/Reinforced Concrete @ 5 cu.m. capacity: 3.2m dia x 2.5m, Waterproof Coating/Painting
1 |  | Portland Cement (40kgs) | bag | 16
2 |  | Sand | cu m. | 0.8
3 |  | Gravel | cu m. | 1.6
4 |  | 12 mm x 6 m def. round bars | lengths | 17
5 |  | 10 mm x 6 m def. round bars | lengths | 17
6 |  | GI Tie Wires | kgs. | 2
7 |  | Distribution pipes and fittings, etc. | lot | 1
8 |  | Form works | lot | 1
Sub - total
5.) | Repair of Existing Water Tank
1 |  | Water proofing / coating | lot | 1
Sub - total
6.) | Construction PV frame foundation, Two (2) sets: Column (mm) 200 x 200 x 600; Footing (mm) 800x 800 x 200
1 |  | Portland Cement (40kgs) | bag | 10
2 |  | Sand | cu m. | 0.5
3 |  | Gravel | cu m. | 1
4 |  | 12 mm x 6 m def. round bars | lengths | 20
5 |  | 10 mm x 6 m def. round bars | lengths | 20
6 |  | GI Tie Wires | kgs. | 2
7 |  | Steel bolts / plates | lot | 2
8 |  | Form works | lot | 2
Sub Total
7.) | Solar PV Mounting Metal Frames, Two (2) Sets
1 |  | Posts Galvanized Pipes 3" Sched 40 Welded; | length | 4
2 |  | Braces Black Iron Tubular (mm) 75 x 50 x 1.5 | length | 8
3 |  | Coating/Paint cold galvanized | lot | 2
Sub Total
8.) | Construction of Perimeter Fence with concrete support and GI pipe posts, 20 sqm. area each by Two (2) sets
1 |  | Cyclone wire galvanized: 8'; Gauge 10 | meters | 36
2 |  | Portland Cement (40kgs) | bag | 10
3 |  | Sand | cu m. | 0.5
4 |  | Gravel | cu m. | 1
5 |  | 12 mm x 6 m def. round bars | lengths | 20
6 |  | 10 mm x 6 m def. round bars | lengths | 20
7 |  | GI Tie Wires | kgs. | 2
8 |  | Form works | lot | 2
9 |  | Posts & braces GI Pipes 1.25" Sched 40 welded | lengths | 32
10 |  | Coating/Paint cold galvanized | lot | 2
Sub Total
9.) | Installation of PV modules and accessories. Two (2) Sets
1 |  | solar module, 400 Watts | unit | 12
2 |  | Railings (Aluminum) and accessories | lot | 2
3 |  | Clamps (conduit/mid/end), L-foot, MC4 con- nector, 40A MCCB, Surge Suppressors, Box Metal, Mini Circuit Breaker, Silicon Sealant | lot | 2
4 |  | Wirings: 6 mm2 & 8 mm2 | lot | 2
Sub Total
10.) | Solar Surface Pumps with controller
1 |  | Solar Surface Pump: Power 750w, Max. Head 42m, Brushless Motor, Mppt controller, over cur- rent protection, Over pressure protection, Over voltage protection, Low voltage protection, Low water level sensor, Full tank water level sensor | pcs | 2
Sub - total
11.) | Ultraviolet (UV) light water sanitizer
1 |  | UV light Water Purifier: local fabrication, 12 GPM | pc | 2
2 |  | Solar panel 405wP, mounting frame | lots | 2
3 |  | Micro-inverters: 400w, IP65, MPPT, Wi-Fi Mode, Efficiency 97% @240VAC & 96.5% @208VAC | pcs | 2
4 |  | Mounting frame, railings, clamps, Surge Sup- pressors, Mini-Circuit Breakers, etc. | lots | 2
Sub-total
TOTAL FOR ANNEX A-1
Annex A-2: labor and materials for Brgy Lahug
Technical Specifications for Lahug Potable Water Supply PV-Pumping Project
No. | ITEM DESCRIPTION |  | UOM | QUANTITY | UNIT PRICE (in PHP or USD) | TOTAL PRICE (in PHP or USD)
A. CIVIL WORKS
1.) | Clearing of project site: Spring Box (12 sq. m.), Water Tank (16 sq.m.) & Solar PV ground mounted (20 sq. m.) |  | sq. m. | 48
Subtotal
2.) | Construction of Spring box
1 |  | Portland Cement (40kgs) | bag | 18
2 |  | Sand | cu m. | 0.9
3 |  | Gravel | cu m. | 1.8
4 |  | 12 mm x 6 m def. round bars | lengths | 50
5 |  | 10 mm x 6 m def. round bars | lengths | 50
6 |  | GI Tie Wires | kgs. | 3
7 |  | Form works | lot | 1
Subtotal
3.) | Construction transmission pipeline, fittings and anchor supports
1 |  | Portland Cement (40kgs) | bag | 25
2 |  | Sand | cu m. | 1.25
3 |  | Gravel | cu m. | 2.5
4 |  | 12 mm x 6 m def. round bars | lengths | 25
5 |  | 10 mm x 6 m def. round bars | lengths | 25
6 |  | GI pipe1 1 1/4" dia. | lengths | 85
7 |  | Fittings: Adapters, couplings, elbow, valves, etc. | lot | 1
8 |  | GI Tie Wires | kgs. | 4
9 |  | Form works | lot | 3
Subtotal
4.) | Construction of water tank: ferrocement / reinforced concrete @ 8cu.m. capacity: 2.8m dia x 1.4m, Water Proof Coating/Painting
1 |  | Portland Cement (40kgs) | bag | 25
2 |  | Sand | cu m. | 1.25
3 |  | Gravel | cu m. | 2.5
4 |  | 12 mm x 6 m def. round bars | lengths | 10
5 |  | 10 mm x 6 m def. round bars | lengths | 10
6 |  | GI Tie Wires | kgs. | 1.5
7 |  | Pipes and fittings,etc | lot | 1
8 |  | Form works | lot | 1
SubTotal
5.) | Construction PV frame foundation: Column, mm: 200 x 200 x 600; Footing,mm: 800x 800 x 200
1 |  | Portland Cement (40kgs) | bag | 5
2 |  | Sand | cu m. | 0.25
3 |  | Gravel | cu m. | 0.5
4 |  | 12 mm x 6 m def. round bars | lengths | 10
5 |  | 10 mm x 6 m def. round bars | lengths | 10
6 |  | GI Tie Wires | kgs. | 1
7 |  | Steel bolts / plates | lot | 1
8 |  | Form works | lot | 1
Sub Total
6.) | Solar PV Mounting Metal Frames
1 |  | Posts Galvanized Pipes 3" Sched 40 Welded; | length | 2
2 |  | Braces Black Iron Tubular (mm) 75 x 50 x 1.5 | length | 4
3 |  | Coating/Paint cold galvanized | lot | 1
SubTotal
7.) | Construction of Perimeter Fence with concrete support and GI pipe posts, 20 sq.m. area
1 |  | Cyclone wire galvanized: 8'; Gauge 10 | meters | 18
2 |  | Portland Cement (40kgs) | bag | 5
3 |  | Sand | cu m. | 0.25
4 |  | Gravel | cu m. | 0.5
5 |  | 12 mm x 6 m def. round bars | lengths | 10
6 |  | 10 mm x 6 m def. round bars | lengths | 10
7 |  | GI Tie Wires | kgs. | 1
8 |  | Form works | lot | 1
9 |  | Posts & braces GI Pipes 1.25" Sched 40 welded | lengths | 16
10 |  | Coating/Paint cold galvanized | lot | 1
Sub Total
8.) |  | Installation of PV modules and and accessories
1 |  | solar module, 400 Watts | unit | 6
2 |  | Railings (Aluminium) and accessories | lot | 1
3 |  | Clamps (conduit/mid/end), L-foot, MC4 connector, 40A MCCB, Surge Suppresors, Box Metal, Mini Circuit Breaker, Silicon Sealant | lot | 1
4 |  | Wirings: 6 mm2 & 8 mm2 | lot | 1
SubTotal
9.) |  | Solar Surface Pumps with controller
1 |  | Solar Surface Pump: Power 750w, Max. Head 42m, Brushless Motor, Mppt controller, Over current protection, Over pressure protection, Over voltage protection, Low voltage protection, Low water level sensor, Full tank water level sensor | pc | 1
SubTotal
10.) |  | Ultraviolet (UV) light water sanitizer
1 |  | UV light Water Purifier: local fabrication, 12 GPM | pc | 1
2 |  | Solar panel 405wP, mounting frame | lots | 1
3 |  | Micro-inverters: 400w, IP65, MPPT, WiFi Mode, Efficiency 97% @240VAC & 96.5% @208VAC | pcs | 1
4 |  | Mounting frame, railings, clamps, Surge Suppressors, Mini-Circuit Breakers, etc | lots | 1
Subtotal
TOTAL ANNEX A-2
Annex A-3: labor and materials for Brgy Tabon
Technical Specifications for Tabon Potable Water Supply PV-Pumping Project
No. |  | ITEM DESCRIPTION | UOM | QUANTITY | UNIT PRICE (in PHP or USD) | TOTAL PRICE (in PHP or USD)
A. CIVIL WORKS
1.) | Clearing of project site: Well Reservoir (4) & Water Tank (16) & Solar PV ground mounted (20 sq. m.) |  | sq m | 40
Sub Total
2.) | Construction of Well Reservoir, drilling of 6" bore hole
1 |  | Portland Cement (40kgs) | bag | 2
2 |  | Sand | cu m. | 0.1
3 |  | Gravel | cu m. | 0.2
4 |  | 12 mm x 6 m def. round bars | lengths | 5
5 |  | 10 mm x 6 m def. round bars | lengths | 5
6 |  | Form works | lot | 1
7 |  | Concrete culvert | unit | 6
8 |  | PVC 3" dia | lengths | 10
9 |  | Drilling of 6 " bore hole | lot | 1
Sub Total
3.) | Construction transmission pipeline, fittings and anchor supports
1 |  | Portland Cement (40kgs) | bag | 10
2 |  | Sand | cu m. | 0.5
3 |  | Gravel | cu m. | 1
4 |  | 12 mm x 6 m def. round bars | lengths | 10
5 |  | 10 mm x 6 m def. round bars | lengths | 10
6 |  | GI pipe1 1 1/4" dia. | lengths | 34
7 |  | Fittings: Adapters, couplings, elbow, valves, etc. | lot | 1
9 |  | GI Tie Wires | kgs. | 2
10 |  | Form works | lot | 1
Subtotal
4.) | Construction of water tank, Ferrocement/Reinforced Concrete water tanks @8cu.m. capacity: 2.8m dia x 1.4m, Water Proof Coating/Painting
1 |  | Portland Cement (40kgs) | bag | 25
2 |  | Sand | cu m. | 1.25
3 |  | Gravel | cu m. | 2.5
4 |  | 12 mm x 6 m def. round bars | lengths | 10
5 |  | 10 mm x 6 m def. round bars | lengths | 10
6 |  | GI Tie Wires | kgs. | 1.5
7 |  | Pipes and fittings,etc | lot | 1
8 |  | Form works | lot | 1
SubTotal
5.) | Construction PV frame foundation: Column, mm: 200 x 200 x 600; Footing,mm: 800x 800 x 200
1 |  | Portland Cement (40kgs) | bag | 5
2 |  | Sand | cu m. | 0.25
3 |  | Gravel | cu m. | 0.5
4 |  | 12 mm x 6 m def. round bars | lengths | 10
5 |  | 10 mm x 6 m def. round bars | lengths | 10
6 |  | GI Tie Wires | kgs. | 1
7 |  | Steel bolts / plates | lot | 1
8 |  | Form works | lot | 1
Sub Total
6.) | Solar PV Mounting Metal Frames
1 |  | Posts Galvanized Pipes 3" Sched 40 Welded; | length | 2
2 |  | Braces Black Iron Tubular (mm) 75 x 50 x 1.5 | length | 4
3 |  | Coating/Paint cold galvanized | lot | 1
Sub Total
7.) | Construction of Perimeter Fence with concrete support and GI pipe posts, 20 sq.m. area
1 |  | Cyclone wire galvanized: 8'; Gauge 10 | meters | 18
2 |  | Portland Cement (40kgs) | bag | 5
3 |  | Sand | cu m. | 0.25
4 |  | Gravel | cu m. | 0.5
5 |  | 12 mm x 6 m def. round bars | lengths | 10
6 |  | 10 mm x 6 m def. round bars | lengths | 10
7 |  | GI Tie Wires | kgs. | 1
8 |  | Form works | lot | 1
9 |  | Posts & braces GI Pipes 1.25" Sched 40 welded | lengths | 16
10 |  | Coating/Paint cold galvanized | lot | 1
Sub Total
8.) | Installation of PV modules and and accessories
1 |  | solar module, 400 Watts | unit | 6
2 |  | Railings (Aluminium) and accessories | lot | 1
3 |  | Clamps (conduit/mid/end), L-foot, MC4 connector, 40A MCCB, Surge Suppresors, Box Metal, Mini Circuit Breaker, Silicon Sealant | lot | 1
4 |  | Wirings: 6 mm2 & 8 mm2 | lot | 1
Sub Total
9.) | Solar Surface Pumps with controller
1 |  | Solar Surface Pump: Power 750w, Max. Head 42m, Brushless Motor, Mppt controller, Over current protection, Over pressure protection, Over voltage protection, Low voltage protection, Low water level sensor, Full tank water level sensor | pc | 1
Sub Total
10.) | Ultraviolet (UV) light water sanitizer
1 |  | UV light Water Purifier: local fabrication, 12 GPM | pc | 1
2 |  | Solar panel 405wP, mounting frame | lots | 1
3 |  | Micro-inverters: 400w, IP65, MPPT, WiFi Mode, Efficiency 97% @240VAC & 96.5% @208VAC | pcs | 1
4 |  | Mounting frame, railings, clamps, Surge Suppressors, Mini-Circuit Breakers, etc | lots | 1
Sub Total
TOTAL ANNEX A-3
OTHER COSTS
1 | Transportation / Hauling
|  | Hauling of materials, supplies & equipment | lot | 1
2 | Insurance
|  | Travel Insurance for major components | lot | 1
3 | Construction/Labor
|  | Construction of Spring box | Lot | 2
|  | Construction of Well Reservoir / Drilling | Lot | 1
|  | Construction of transmission pipeline, fittings and anchor supports | Lot | 3
|  | Construction of water tank ferrocement / reinforced concrete | Lot | 3
|  | Construction PV frame foundation | Lot | 4
|  | Installation Solar PV Mounting Metal Frames | Lot | 4
|  | Construction of Perimeter Fence | Lot | 4
|  | Installation of PV modules and accessories | Lot | 4
4 | Community Training |  | lot | 3
5 | Management supervision
Sub Total
TOTAL Other Cost
TOTAL COST (Annex A-1, Annex A-2, Annex A-3, Other costs)