## BOQ
United Nations Development Program
Project Name: | Rehabilitation of Women Training Center (WTC) in Hun, Al-Jufra Municipality
Location : | Al-Jufra /Libya
Item | Description | unit | Qty | Rate | Amount USD
1 | CIVIL WORKS
A | Demolishing and Preparation Works
Notes:
The work shall include and comply with the following:-
a. Removing of demolished material out of site to authorized dumping sites.
b. The dismantled material are the sole properties of the client (in case those material are required by the Client).
c. The contractor shall coordinate implementation of his daily work activities, working hours, throughout the construction period with the client and the supervising engineer.
d. The contractor shall protect and safe guard the existing facilities and building finishes, including the painting, the floor tiles, …etc.
e. The contractor shall make the necessary temporary water, electrical power connections ..etc to prevent interruption of the power and water supply for the existing functioning building.
f. The contractor shall take all necessary measures to protect and safe guard the labor and the structural integrity of the building during the demolishing woks, all as per the attached specifications.
A1 | Demolishing: Demolition and removal of buildings from limestone bricks and cement bricks, including walls , plastering columns , lintel beams. pipes for water net and sewage pipes , hand wash, kitchen basin ,wc, plc. pipes windows , doors wooden , PVC , PS and steel, ceramic wall and floor tiles for toilets and kitchen The work includes transportation and dumping all the debris and rubble to a public dumping site approved by the local authorities and according to the Engineer’s instructions. | LS | 1
A2 | Wood doors removal: Dismantling and removing the Wood doors that are damaged in different sizes according to the technical specifications and instructions of the supervisor engineer. | No | 6
A3 | Steel doors removal: Dismantling and removing the steel doors that are damaged in different sizes according to the technical specifications and instructions of the supervisor engineer. | SQ.M | 2
A4 | Steel protection windows removal: Dismantling and remove the damaged steel protection windows according to the technical specifications and instructions of the supervisor engineer. | SQ.M | 21
A5 | Site preparation: Supply of materials, tools, machineries and manpower for site preparation. The work includes clearing, stripping and levelling of the site, removing trees and other natural vegetation inside the actual lines of construction and removing and dumping all the debris and rubble to a site approved by the local authorities. According to the Engineer's instructions. | SQ.M | 480
B | Concrete Works
B1 | Reinforced concrete columns and lintels: Supply of materials, tools and manpower for casting reinforced concrete for columns and lintels for windows and door, with compressive strength 30 N/mm² and reinforcement 115 kg/m³. Including all the requirements of steel reinforcement, covers and formworks. All according to the technical specifications and the Engineer's instructions. | CU.M | 0.2
C | Masonry works |  |  |  |  | 0 | 0 | Note: Area of the site to be provided
C1 | Masonry works (40x20x20 cm): Supply of materials, tools and manpower for masonry works by using concrete hollow blocks of dimensions 40x20x20 cm, with cement sand mortar (1:3) mix. including vertical and horizontal levelling, according to technical specifications and as per the Engineer's instructions. | SQ.M | 23.2
D | Plastering Works
a. Plastering to walls and ceilings including plaster patches at different locations.
bathed plastering work shall include surface preparation ready for plastering including repairing the existing holes and cracks in the walls and ceilings with cement mortar, filling around pipes and conduits, etc; all in accordance with specification and the Engineer's approval.
D1 | Large cracks repairing: Supply of materials, tools and manpower for repairing large cracks, by breaking the old plaster around the crack, 15 cm wide, cleaning the place and fixing the plastic nets along the crack, and restoring the plaster layer with a concrete mortar (3: 1), all according to technical specifications and as per the Engineer's instructions. | LM | 12
E | Painting Works
a. Painting works shall comply with the manufacturer's instructions and specifications.
b. Painting material shall be of high quality and approved products.
c. Painting to be carried out on new or old surfaces. The work includes, scraping off old defective paint, batching, puttying, sanding, and surface preparation; all in accordance with technical specifications and the Engineer's instructions.
E1 | Plastic Painting: Supply of materials, tools and manpower to paint the internal walls and ceilings, in the face of the preparatory standard, with 2 coats of emulsion plastic colored semi glossy emulsion paint. (Supercryle) with one under coat primer and min. 2-coats of semi glossy emulsion paint Including scratching of old painting, cleaning the walls and ceilings before painting. All according to the technical specifications and the Engineer's instructions. | SQ.M | 630
E2 | Graphite Painting: Supply of materials, tools and manpower to paint entrances and external wall views/ facades. The work shall include surface preparation, bonding priming, and sanding, all in accordance with the specifications and the Engineer's instructions and approval of samples. | SQ.M | 375
F | Floor and wall tilling/cladding
a. The work shall include preparation of surfaces under tiles, sand with cement mortar, finish to falls and cross falls, special tile pieces for edges and plastic spacers, grouting and cleaning; all as per specifications and Engineer's approval.
b. Careful cleaning of the existing floors tiles and marble, including grouting and polishing as directed by Engineer.
F1 | Ceramic tiles : Supply of materials, tools and manpower for applying floor ceramic tiles Spanish made or equivalent made of dimensions 190 mmX570mm, 9 mm thickness , glazed (GL) for office , rooms and corridor. , installation of ceramics on existing tiles with(ceramic tile adhesive) modification of the surface in case of inclinations with the special plaster and according to the approval sample, grouting and polishing; all in accordance with technical specifications and Engineer's instructions and approval. | SQ.M | 201.95
F2 | Ceramic anti slip tiles: Supply of materials, tools and manpower for applying non-slip ceramic flooring tiles, (grade A), for toilet and kitchen of dimensions 330x330 mm x 8mm thickness. Including a layer of 30mm of mortar bed; all in accordance with technical specifications and Engineer's instructions and approval. | SQ.M | 23.46
F3 | Supply and install wall ceramic tiles grade A of size 250mm x 500mm x 4mm thick, including cement mortar bed according to specifications and the Engineer instructions. | SQ.M | 118.38
F4 | Counter marble: Supply of materials, tools and manpower for installing marble for the kitchen, Granit or Galaxy type with , color, Italy made (or equivalent). Including grouting and polishing; all in accordance with specifications and as per Engineer's instructions and approval. | SQ.M | 7
F5 | Marble frames: Supply of materials, tools and manpower for installing marble for windows/doors frames and seatings, Karara type, of 3cm thickness, white color, Italy made (or equivalent). Including grouting and polishing; all in accordance with technical specifications and Engineer's instructions and approval. | SQ.M | 16.016
F6 | Marble stairs: Supply of materials, tools and manpower for installing marble, karara type, for the stairs, 3 cm thicknesses for tread and 2 cm thickness for rise with the required dimensions and curved/chamfer edges of the lintels; all according to technical specifications and the Engineer's instructions and approval. | SQ.M | 1.35
F7 | Marble flooring: Supply of materials, tools and manpower for installing Italian (or equivalent) marble tiles for flooring, Karara type, of dimensions 40 × 40 × 2 cm, with cement mortar; all according to technical specifications and the Engineer's instruction and approval of samples. | SQ.M | 1
F8 | Marble skirting: Supply of materials, tools and manpower for installing Italian (or equivalent) marble skirting, with 10 cm width and 1cm thickness, the same of ceramic tile approved in item # G1 type and removal old one and you have to prepare the surface for new work, all in accordance with technical specifications and the Engineer's instructions and approval. | LM | 173
G | Doors, Windows, Suspended Ceiling, and Metals Works
a. clear float glass/ wired glass /tinted glass /translucent glass as appropriate to suit the respective doors and windows, similar to the existing doors and windows.
b. frames, door sash / window casement brass fixing screws, lock sets with 3 keys manufactured in Europe.
c. hardware and accessories shall be of high quality of approved brands.
Painting / Final Finish:-
a. Unless otherwise stated all surface of timber doors & windows and casements and door sashes shall be applied with two coat of wood preservative, two coats of primer, two coats of approved paint, paint type and finishing shall be similar to the paint finishing of the existing doors and windows.
b. Existing doors and windows, where required in the BoQ, shall be repaired with matching parts and hardware to restore weather integrity, soundness and smooth operation of the doors or windows.
G1 | Supply and fix interior mahogany wood door, all sizes X 45 mm thick with frame, architectural drawing need to be approved by engineer before manufacturing , architrave should be made from the same materials, works including door lock with handle, approved paints, and removal of damaged doors and all required works. | SQ.M | 11
G2 | PS doors and windows: Supply of materials, tools and manpower for installing complete P.S doors and windows colored including 4 mm thickness all accessories to complete the work for doors and windows, All in accordance to technical specifications, approved colors and the Engineer's instructions and approval. | SQ.M | 28.127
G3 | Steel protection windows and doors: Supply of materials, tools and manpower for installation of steel protection for doors and windows, as per approved design and including hardware, locks and painting. All in accordance with technical specifications and as per the Engineer's instructions and approval of samples. | SQ.M | 20.174
G4 | Supply and fix exterior steel door, for the Entrances, constructed of 2 mm double galvanized steel plates, including decorations, door lock, all ironmongery and hardware, painting with approved paints, and all required works. | SQ.M | 5.28
G5 | Supply and fix exterior steel sliding door, for Main Gate, constructed of 2 mm double galvanized steel plates, including decorations, door lock, all ironmongery and hardware, painting with approved paints, including casting ground beam for the door and all required works. | SQ.M | 9.6
G6 | Supply and fix plastic curtains for windows, including all required works according to specifications and Engineer instructions. | SQ.M | 18.4
Total for Civil Works
H | Plumbing, Sanitary, Rain Drainage Works
a. The work shall include supplying and installation of all fittings such as elbows, bends, tees, junctions, plugs, reducers and similar pipe fittings.
b. Connecting pipes to sanitary fixtures and appliances.
c. Testing and disinfection after completion.
d. Excavation, backfilling, disposal of surplus soil for items which were specifically mentioned.
e. Assembling, jointing together fixing components parts, and jointing to pipes including necessary coupling and for leaving perfectly clean and in perfect working order on completion.
f. Submitting samples for the approval of the Engineer.
Rates for drainage work shall include for :-
a. Excavation, backfilling, disposal of surplus soil
H1 | PPR water piping Ø 3/4": Supply of materials, tools and manpower to install P.P.R water pipes of Ø 3/4" inch. Including all required connections and fittings. All according to technical specifications and the Engineer's instructions. | L.M | 85
H2 | PPR water piping Ø 1": Supply of materials, tools and manpower to install P.P.R water pipes of Ø 1" inch. Including all required connections and fittings. All according to technical specifications and the Engineer's instructions. | L.M | 60
H3 | Supply and fix white glazed fire clay standing hand wash basin with overflow and single hole faucet, size 480 x 580 mm, made of vitreous china to BS 3402 (grade A), complete with all water supply pipes 16mm, chromium plated mixer and waste trap. The work include all related work accessories and fittings. | No | 4
H4 | Supply and fix white glazed fire clay double sink with overflow and single hole faucet, size 800 x 500 mm, made of vitreous china to BS 3402 (grade A), complete with all water supply pipes 16mm, chromium plated mixer and waste trap. The work include with 1.2 m high quality marble and all related work accessories and fittings. | No | 1
H5 | Waste trap (15x15 cm): Supply of materials, tools and manpower to install ground chromium plated waste trap, with the cover of dimensions 15x15 cm for W.C. Including removal of old waste trap, all the requirements to complete the job, and as per approval of sample and the Engineer's instructions. | No | 5
H6 | Western W.C.: Supply of materials, tools and manpower to install Western stand W.C. suite, with 10 litter plastic flushing cistern. Including all required fittings and accessories, complete and in accordance to technical specification and the Engineer's instructions. | No | 4
H7 | P.P.R water valves: Supply of materials, tools and manpower to install P.P.R water valves of 1/2, 3/4, and 1" inch. Including all required connections and fittings. All according to technical specifications and the Engineer's instructions. | No | 8
H8 | Electrical water heater: Supply of materials, tools and manpower to install fix electrical water heater, Ariston or equivalent. Capacity 50 liters, 0.8 Mpa pressure, provided with temperature gauges, including water supply pipes 16mm, chromium plated control valve, non-return valve, electrical connections and fittings. All in accordance to technical specifications and as per the Engineer's instructions and approval. | No | 5
H9 | Water wash faucet: Supply of materials, tools and manpower to install water wash faucet with hose for W.C's. Including removal of existing one, and in accordance to technical specifications and as per the Engineer's instructions and approval. | No | 4
H10 | Water tank: Supply of materials, tools and manpower to install water tank of 2 cubic meter (m³) and PVC material. Including electrical buoy metal stand with 1.25 High with bars to hold the tank and all related work accessories and fittings and all required to complete the work according to the technical specifications and the Engineer's instructions and approval. | No | 2
H11 | PVC pipes Ø 1 1/2": Supply of materials, tools and manpower to install PVC pipes of diameter Ø 1 1/2" inch and pressure of 10 bar for sewage water discharge. All in accordance to technical specifications and as per the Engineer's instructions and approval. | LM | 15
H12 | PVC pipes Ø 4": Supply of materials, tools and manpower to install PVC pipes of diameter Ø 4" inch and pressure of 10 bar for sewage water discharge. All in accordance to technical specifications and as per the Engineer's instructions and approval. | LM | 12
H13 | Drainage trap: Supply of materials, tools and manpower to install chromium plated trap on roof, for water rain drainage. All according to technical specifications and as per the Engineer's approval and instructions. | No | 6
H14 | P.V.C. rain drainage pipes: Supply of materials, tools and manpower to install P.V.C pipes, diameter Ø 4 inch and 10-bar pressure for rain drainage network pipelines. Including all fittings and accessories needed to complete the work in accordance to technical specifications and as per the Engineer's instructions. | LM | 30
H15 | Submersible pump 1HP: Supply and install submersible pump of Ø 1" inch and 1 HP, European manufacture or equivalent. The work includes protection box, connection to the electric power supply and all related work accessories and fittings. All in accordance to the technical specifications and as per the Engineer's approval and instructions. | No | 1
Total for Plumbing, Sanitary, Rain Drainage Works
I | External Works
a. The work shall include preparation of surfaces under curbs, inter-lucks tiles, and lean concrete, special tile/curbs pieces for edges, grouting and cleaning; all as per specifications and Engineer's approval, and all necessary provisions required to complete the work in good quality.
b. Careful cleaning of the existing adjusting structures, including grouting and polishing as directed by Engineer.
I1 | Supply and construct concrete underground water tank of dimensions 4 m * 3 m* and 2.5 m deep, complete as per the attached drawing. The work shall include supply all needed materials and works for construction and finishing of safe and watertight underground water tank; all in accordance with the drawings, specifications and the Engineer's instructions. The work shall include, but not limited, of the following works: Earthworks including, excavation, leveling, backfilling and compaction. Supply and cast C20 lean concrete 10 cm thick for water tank base slab. Supply and cast C30 reinforced concrete for 30 cm thick base slab, the walls and the ceiling slab including steel reinforcement. Supply and apply 2 coats of bitumen protection coating on the external walls; construction of cleanout manhole. Supply and apply 2 coats of cement based sealant of approved product similar to Sitka or equally approved, on the internal walls and flooring of the water tank. Stainless steel steps; Galvanized steel inspection cover with frame, 60 X 60 cm. floating valve. 1" PPR inlet pipe with 1" cupper gate valve. 1" PPR outlet pipe with 1" cupper non-return valve. 1" PPR vent pipe with 180 degree elbow. 1" PPR overflow and discharge pipes. Testing of the water tank for water tightness; All associated works including mechanical fittings and accessories according to the specifications, and Engineer instructions. | LS | 1
TOTAL FOR EXTERNAL WORKS
J | ELECTRICAL WORKS
a. Unless otherwise stated in Bill of Quantities the work shall include all supply and installation of all necessary materials cables, conduits, PVC sunk box, bulbs, switches etc.) and labor required to complete the electrical installation to good working order.
b. Except where specifically stated, all costs associated with provision of all holes, openings, chases, ducts and other builders' work required for installation and make them good, shall be included in the rates.
c. All types of fittings, materials, painting and finishes shall be high quality combatable and match the existing and comply with relevant standards approved by the Engineer.
J1 | Supply and install and commission, flexible electrical copper wires of 220V grade and comply with BS 6500 Table 12, insulated with PVC of 6 mm2 size, including wiring through PVC tubes. works include conduit and it's chipping on the walls . according to the specifications, and Engineer instructions | LM | 100
J2 | Ditto, but 4 mm2 size. | LM | 140
J3 | Ditto, but 2.5 mm2 size. | LM | 120
J4 | Supply and install internal single pole 16 A, 220V lighting switch. The work includes removal of old/existing ones. All in accordance to the technical specifications and as per the Engineer's approval and instructions. | No | 10
J5 | Supply and install of internal double pole 16 A, 220V lighting switch. The work includes removal of old/existing ones. All in accordance to the technical specifications and as per the Engineer's approval and instructions. | No | 5
J6 | Supply and install single pole 16 A, 220V, socket outlet. The work includes removal of old/existing ones, earthing cable and the requirements to complete the work. All in accordance to the technical specifications and as per the Engineer's approval and instructions. | No | 12
J7 | Supply and installation of a power box P.V.C for switches and electrical outlets with the cover of electrical boxes of all kinds. Including all the requirements to complete the work. All in accordance to the technical specifications and as per the Engineer's approval and instructions. | No. | 15
J8 | Supply and install 60 x 60 cm LED lighting fixture 40 watt with plastic cover input ( 85 to 250) volt for suspended ceiling , including conduits, chock coils, clamps, bolts, one spare chock coil and all needed accessories. | No | 30
J9 | Supply and fix A/C 12 BTU with inverter, cooling & heating including all the accessories needed for the installation and the condensate drain pipe as directed by site engineer. | No | 7
J10 | Supply and fix sub-main distribution boards comply with BS 5486: Part 1 (IEC 60439-1 Form 4), fabricated from sheet steel having a minimum thickness of 1.5 mm. The steel shall be electro zinc plated, (Zintec), with 100 A main 2 poles switch breaker( Schneider or similar), and it can accommodate 24 air circuit breakers, wiring, and all needed accessories. | No | 1
J11 | Supply and fix electrical single air circuit breakers ( Schneider or similar), 2 phase voltage, of 2 pole and (6 - 32 A) rating and shall conform to IEC 60947-2. | No | 24
Total for Electrical works ..carried to summary
Summary
Sec. | Bills |  |  |  | Amount USD
NAME OF THE PROJECT: Rehabilitation of Women Training Center in Hun -Al-Jufra
1 | Total for Civil Works
2 | Total for Plumbing, Sanitary, Rain Drainage Works
2 | Total for External Works
3 | Total for Electrical Works
Total Grand Project
Total Grand Project in words:
Company Name
Authorized Person
Position
Email
Mobile Number
Address