## LOT 1
Annex 1: LOT 1: Mechanical/Electrical Design, Embedded Systems and VR Studio, Robotics Lab and Web Development
Delivery: Juba, South Sudan [Exact location: University of Juba]
NB: where specifications of a given item below relates to a particular brand, the word "or equivalent" apply.
Item # | Machine/Equipment/Software | Specifications | Quantity | Unit Cost (USD) | Amount (USD)
Mechanical Design
1 | Design computers | Workstation - desktop | 20 |  | 0
3.1 GHz Intel Core i7,
8GB of 2666 MHz DDR4 RAM,
Integrated Intel UHD Graphics 630
2 | Laptops | NVIDIA GeForce GTX 1650 with 4GB GDDR5 Graphics OR EQUIVALENT | 5 |  | 0
9th Gen Intel Core i7-9750h (12MB Cache, up to 4. 5 GHz, 6 Cores) 16GB DDR4 2666MHz RAM
3 | Projector | Wattage 50watts | 1 |  | 0
Brightness 3300ANSI Lumen Controller type ButtonControl Item weight 2.4Kilograms Light source wattage 210Watts
Minimum throw distance 2.02Metres
4 | Softwares - Design softwares students’ version | SolidWorks student’s edition | 25 |  | 0
5 | Softwares - Design softwares students’ version | Autodesk Inventor AutoCAD OR EQUIVALENT | 25 |  | 0
Fusion 360
Electric Design
6 | Design computers | Workstation - desktop | 9 |  | 0
3.1 GHz Intel Core i7,
8GB of 2666 MHz DDR4 RAM,
Integrated Intel UHD Graphics 630
7 | Laptop | NVIDIA GeForce GTX 1650 with 4GB GDDR5 Graphics OR EQUIVALENT | 15 |  | 0
9th Gen Intel Core i7-9750h (12MB Cache, up to 4. 5 GHz, 6 Cores) 16GB DDR4 2666MHz RAM
8 | Projector | Wattage 50watts | 1 |  | 0
Brightness 3300ANSI Lumen Controller type ButtonControl Item weight 2.4Kilograms Light source wattage 210Watts
Minimum throw distance 2.02Metres
10 | Softwares | Kicad | Open Source (free)
Free PCB development software
|  | Github | Open Source (free)
Version control system for Project Management
11 | Softwares | SolidWorks student’s edition | 25 |  | 0
12 | Softwares | EagleAutoCAD ElectricalFusion 360 - Electrical | 25 |  | 0
Embedded Systems and VR Studio
13 | Training kits for Advanced level Embedded systems, covering IoT and distributed systems | -8 and 32 bit Microcontroller units (AVR | 12 |  | 0
+ STM32)
- Sensor units:Air quality sensors,level sensors and proximity sensors among others.
|  | - Actuator units:motors(stepper, servo,DC) |  |  | 0
- Communication modules:Rf Modules(long and short range),BLEs,GSM modules.
14 | Training kits for Expert level Embedded systems, covering advanced level PCB production and IoT | -EFM32ZG-STK3200 Kit Starter EFM32 | 12 |  | 0
Development Boards & Kits - Arm Starter Kit Silicon Labs Zero Gecko Kit ZG222F32
-8 and 32 bit Microcontroller units (AVR
+ STM32)
- Sensor units:Air quality sensors,level sensors and proximity sensors among others.
- Actuator units:motors(stepper, servo,DC)
- Communication modules:Rf Modules(long and short range),BLEs,GSM modules.
15 | Gaming computers | i7 processor, NVIDIA Graphics card, 1TB storage | 2 |  | 0
16 | VR Kit | Resolution:1832*1920 per eye, Display panel: fast-switch LCD, Integrated positional audio, Processor: Qualcomm Snapdragon XR2 Platform, 256 GB storage. | 2 |  | 0
Robotics Lab
17 | ROS | Robot Operating Software | 25 |  | 0
18 | Myrobotlab. | Open-source robotics framework | 25 |  | 0
19 | KiCad EDA Software Suite | Electronic design software | 25 |  | 0
20 | Processing | Graphical representation software | 25 |  | 0
Web Development
21 | Mockplus | Free Online Software | 25 |  | 0
22 | Javascript | Free download | 25 |  | 0
23 | Bootstrap | Free software | 25 |  | 0
24 | VSCode | Free software | 25 |  | 0
25 | Git | Free Online Software | 25 |  | 0
26 | MAMP | Free Online Software | 25 |  | 0
Cost of Equipment |  |  |  |  | 0
Transportat Cost to DAP (Incoterms 2010), University of Juba, South Sudan
Installation and Testing Cost
Total Cost of Equipment delivered to DAP (Incoterms 2010) University of Juba, South Sudan |  |  |  |  | 0

## LOT 2
Annex 1: LOT 2: Creative Arts, Greentech and Foodtech
Delivery: Juba, South Sudan [Exact location: University of Juba]
NB: where specifications of a given item below relates to a particular brand, the word "or equivalent" apply.
Item # | Description | Specifications | Quantity | Unit Cost (USD) | Amount (USD)
Creative Arts (Videography, Sound studio, Fine arts)
1 | Highly portable camera. | DSLR Full frame camera body | 2 |  | 0
Mirrorless camera
| DSLR Lenses | 50mm prime lens, F1.8 | 2 |  | 0
|  | 75-150mm DSLR lens, Sigma 24-70mm F2.8 | 2 |  | 0
|  | 150-300mm DSLR lens, UHD 4K 70-200mm F2.8 | 2 |  | 0
2 | Tripod; Full tripods with bag | 67” Camera Tripod with Travel Bag | 2 |  | 0
3 | External microphone | Shotgun microphone with an auxiliary jack compatible with both Camera and Camcorder | 2 |  | 0
Camera-mount microphone designed for use with DSLR. High resolution audio in either mono or mid-side stereo with an option of Rode VideoMic-R
4 | Camera lighting | Three-Point Lighting Kit | 2 |  | 0
RGB LED Studio (3 point kit)
5 | Camera lighting | Shields with concentrators | 2 |  | 0
6 | Gimbal | Gimbal Stabilizer OR EQUIVALENT | 2 |  | 0
3_axis, capability including utility software and bluetooth capabilities for both android and ios compatibility
7 | Video editing software | Compatible with newer formats such as HEVC, HDR, VR and also 4K video. Note free versions available | 2 |  | 0
8 | Video editing software | After effects software | 1 |  | 0
2.5D animation software used for animation, visual effects and motion picture compositing
9 | Video editing software | video enhancement software | 1 |  | 0
softwares for storyboards creation, animations and special effects
10 | Video editing software | High resolution video editing software | 1 |  | 0
softwares for VR Editing, creating motion graphic templates & video tilting
11 | Softwares | Canva (free version available) | 1 |  | 0
12 | Softwares | Blender (free) | 1 |  | 0
13 | Softwares | Gimp (free) | 1 |  | 0
14 | Video editing hardware | Photo and Video Editing Console, All in one console | 2 |  | 0
15 | Video editing hardware | 27″ Monitor | 2 |  | 0
16:9 HDR 4K IPS Monitor
16 | Video editing hardware | Advanced Wireless Mouse | 2 |  | 0
17 | Video editing hardware. | Desktop: | 2 |  | 0
| SSD (or upgrade to an SSD USB 3.0 Or USB -C Ports | i7 four core Intel CPU (6-8 cores for desktops)
Nvidia GTX 1050 GPU, or better 16 GB of RAM
SSD (or upgrade to an SSD) USB 3.0 or USB-C ports
18 | Video editing hardware | Laptop: | 2 |  | 0
| SSD or upgrade to an SSD USB 3.0 Or USB -C Ports | i7 four core Intel CPU (6-8 cores for desktops)
Nvidia GTX 1050 GPU, or better 16 GB of RAM
SSD (or upgrade to an SSD) USB 3.0 or USB-C ports
19 | Videography tool kit for vlogging | Youtube content creation. | 2 |  | 0
Mobile filming equipment (Phone gimbal, Phone sound kit,
Phone rig, Phone tripod, Small LED Light)
20 | Dummy Battery | For replacement batteries | 2 |  | 0
Dummy Battery NP-FZ100 Cable OR EQUIVALENT
21 | Capture Cards | External Capture Card - Stream and record in 1080p60 HDR10 or 4K30 HDR10 with ultra-low latency | 3 |  | 0
22 | High-Quality Memory Cards | High Speed 128 GB SD Card and above | 5 |  | 0
128 GB Memory Card with Read speed of 300 MB/s and Write speed of 260 MB/s
23 | Studio pro console | Digital mixer with 12 input portable mixer with 4 programmable Midas Preamps, 8 line inputs integrated Wifi Module and USB stereo recorder suited for both live and studio applications. | 1 |  | 0
24 | Editing consoles | As per function | 2 |  | 0
25 | Studio microphone | Upgraded USB Condenser Microphone for Computer. | 2 |  | 0
Microphone with USB and 3.5 mm jack Output with tripod base frequency range 20 Hz - 20 kHZ
26 | Midi pianos | Foldable Keyboard | 2 |  | 0
portable, with USB interface, 32 to 40 keys, Bluetooth MIDI Function, Multiple Playability
27 | Sound-Drum Controller | Drum Controller, Powered via USB 2.0. ,Core i5, 4 GB RAM | 1 |  | 0
28 | Sound Cards | For Production, Audiophile 2x4, 24-Bit/192 kHz USB audio/ MIDI Interface with Midas Mic Preamplifiers | 2 |  | 0
29 | Speakers | For production, 7″ studio monitor speakers | 2 |  | 0
39 | Studio microphone stands | Microphone stands | 2 |  | 0
Studio Flexible Broadcast Mic Stand
31 | Mic stands | For performance, with the ability to adjust the height, Extendable & Removable Boom Arm, Portable and Easy to Assemble, Stable Tripod Base Universal Compatibility: | 2 |  | 0
32 | Performance speakers | For performance, Performance speaker with 1300 W peak power, 12 inch woofer, 1 inch tweeter, XLR and 6.3 mm jack input, selectable output channel, advanced DSP with filtering | 2 |  | 0
33 | Sound Cards | For performance, USB Audio adapter, compatible with PC,24-bit / 192 kHz,RGB Lighting system | 2 |  | 0
34 | Production Softwares | Digital Audio Workstation | 1 |  | 0
Audio production software for song creation, mic recording, audio editing, effects, pattern-based sequencer with MIDI support and scripting
35 | Production Softwares | Digital Audio Workstation | 1 |  | 0
Music and MIDI recording, arranging and editing that can host VST instruments and effects.
36 | Composition Softwares | Graphical Score Editor for creation of sheet music | 1 |  | 0
Music writing softwares with import and export capability of MIDI and Karaoke files.
37 | Composition Softwares | music composition software | 1 |  | 0
music writing softwares
38 | Contemporary instruments | Guitar | 2 |  | 0
Acoustic guitar with bag, tuner, strap and picks
39 | Contemporary instruments | Electric Guitars | 2 |  | 0
Semi-Hollow Electric Guitar
40 | Contemporary instruments | Pianos | 2 |  | 0
Size: 29.9in * 9.1in * 2.4in Rated voltage: External power adapter
41 | Contemporary instruments | Drum sets | 2 |  | 0
|  | 5-Piece 22 inch Full Acoustic Drum Kit |  |  | 0
42 | Contemporary instruments | Saxophones | 2 |  | 0
|  | Alto Sax Key E flat with mouthpiece, stand, reeds, cleaning clothes and carrying case |  |  | 0
43 | Classical performance instruments | Cello with Hard and Soft Case, Stand, Bow, Rosin, Bridge and extra set of strings, size 4/4, hand carved solid spruce top with ebony fingerboard, pegs and tailpiece | 1 |  | 0
44 | Classical performance instruments | Violins, Solid wood violin with Hard Case, shoulder rest, bow , wiping rag rosin and extra strings size 4/4 | 2 |  | 0
45 | Classical performance instruments | Trumpets, Professional Trumpet Large bore - 0.462”, Key C | 2 |  | 0
46 | Painting stands | To hold canvas of various sizes. | 5 |  | 0
|  | Portable Artist Easel Stand - Adjustable Height Painting Easel with Bag - Table Top Art Drawing Easels for Painting Canvas, Wedding Signs & Tabletop Easels for Display - Metal Tripod - 21x66 inches |  |  | 0
47 | Armatures and wires | 32.8 Feet Aluminum Wire, Wire Armature, Bendable Metal Craft Wire for Making Dolls Skeleton DIY Crafts(Silver, 3 mm Thickness) | 7 |  | 0
48 | Modeling tools | kit | 5 |  | 0
49 | Wood carving tools | tool set with different knives. | 5 |  | 0
|  | whittling knife, detail wood carving knife, high quality SK2 carbon steel wood carving tool, polish leather strop, polishing compound, gloves, whetstone, roll bag, sandpaper, canvas sheaths |  |  | 0
50 | Stone carving tools | stone bits | 5 |  | 0
approx.1/8" shank works with any rotary tools and drills
Multi-purpose - Diamond grinding burrs made of high speed steel coated with diamond particles.
51 | Stone carving tools | chisel set | 5 |  | 0
|  | 10 kinds of Shape Size: Deep gouge, Medium gouge, Shallow gouge, Narrow straight chisel, Wide straight chisel, Rounded chisel, angled knives/chisels, Parting tool, Pinpoint tool |  |  | 0
52 | Stone carving tools | Stone Carving Set | 5 |  | 0
tools average about 8-1/4" long Hardened tools
tool shafts range from 5/16" to 9/16" in diameter and the blades measure from a sharp point up to 1-1/4" wide
Greentech
53 | Plastic Shredder | Plastic Type: PVS, PET, PE, PA Machine Type: Plastic shredder Max. Production Capacity:500Kg/hr | 1 |  | 0
Plastic Cutter Grinder Crusher Shredder Machine
Can have about 45 KW Motor
54 | Soil nutrient analysis equipment | Repeatability error: ≤0.05% (0.0005 potassium dichromate solution)Detection Channels: 6Detection channels. | 1 |  | 0
Linear error: ≤2% (0.02 copper sulfate detection)
Electronic scale of 200 grams Glass pipette of 1ml, 2ml, 5ml, 10ml
Test sample speeds : average of 30 minutes for one sample including pretreatment time.
55 | Solar training kits | Green energy teaching equipment, Solar training kit, Solar power generation experiment box | 1 |  | 0
Communication line: RS232 / VGA to USB
56 | Mini Injection Molding Machine | Ejector stroke: 100mm Ejector Force: 1000KN | 1 |  | 0
|  | Theoretical shot volume: 100cm³ Injection rate: 50g/s |  |  | 0
Foodtech
57 | Industrial scale | 100Kgs floor pan | 1 |  | 0
Measuring Units: Measures in lb, oz and kg
Can weigh upto 200kgs Extended control board for oversize boxes with energy saving LCD Display
58 | Industrial oven | Combination oven | 1 |  | 0
Power rating: 7,900 - 10,300 Watts Multi-Cook
Stackable oven sections
59 | Spice / Grain grinder | Spice 3 cups | 1 |  | 0
19, 000 RPM
Power rating of 750 Watts
60 | Planetary mixer | 30 Qt. Planetary Floor Mixer with Guard & Standard Accessories. | 1 |  | 0
150, 245, 516 RPM
Gear driven transmission 10 qt and above capacity Power rating of 1,300 Watts
61 | Kitchen weighing scale | Bowl, Timer, and Temperature Sensor, Digital Kitchen | 1 |  | 0
Weight (5kg)
Precise measurement: 11lb/5kg capacity with a division of 0.1oz/1g.
Detachable bowl capacity of 2.
62 | Grass juicer | Wheatgrass Juicer. | 1 |  | 0
2800 RPM
80° scientific blade tooth Stainless steel juicing net Power: 370W
63 | Juicer | At Least 1/3Hp Commercial Juicer - 16 Fruits / Minute | 1 |  | 0
Stainless steel blades Commercial Size 80oz Power rating 2200Watts
64 | Food drier | Food Dehydrator Machine - 900-Watt | 1 |  | 0
360° Hot Air Circulation Large Capacity with 10 trays and Up to 13 lbs. of Food Dehydrate 10-layer Living Drawer (15.5"" X
15.34"")
65 | Cold press oil machine | 1800W Oil Press Machine 0-300℃ | 1 |  | 0
Power: 1250-1800W Product size: 22 * 50 * 29 cm Product weight: 15kg Material: 304 stainless steel Oil yield: 90% Efficiency: 6-9kg / h
66 | Packaging Machine | Vacuum Sealer | 1 |  | 0
Motor Power : 0.12 kW Vacuum Pump Rate : 3 cubic m/h
Chamber Dimensions : 330x275x50mm
Build: Stainless Steel
Cost of Equipment |  |  |  |  | 0
Transportat Cost to DAP (Incoterms 2010), University of Juba, South Sudan
Installation and Testing Cost
Total Cost of Equipment delivered to DAP (Incoterms 2010) University of Juba, South Sudan |  |  |  |  | 0

## LOT 3
Annex 1: LOT 3: Electronic prototype, Energy and Rapid Prototyping space
Delivery: Juba, South Sudan [Exact location: University of Juba]
NB: where specifications of a given item below relates to a particular brand, the word "or equivalent" apply.
Item # | Machine/Equipment/Software | Specifications | Quantity | Unit Cost (USD) | Amount (USD)
Electrical / Electronic Prototyping:
1 | CNC drilling machine | Working power: 300W; Net weight: 35KG. | 1 |  | 0
Spindle speed: 20000 revolve/min;
5. Support format: (.nc) Drill and PCB2.8 format;
2 | Cutting machine | Overall dimension: width 280mm×length 400mm×height 250mm; | 1 |  | 0
Net Weight: 150KG.
The biggest cutting plate thickness: 5mm;
3 | Circuit board buffing machine | Power supply: AC380V/50Hz; power: 0.75KW; Dimension: 750mm×730mm×730mm; Weight: 50kg. | 1 |  | 0
4 | Through-hole plating machine | Power: 1000W; Weight: 30Kg. | 1 |  | 0
power: AC220V/50Hz;
Air pump parameters: gas flow: 20L/min;
5 | Screen printing machine | Net Weight: 10Kg. | 1 |  | 0
dimension: length 500mm×width 400mm×height 380mm;
Screen printing area: 420mm×350mm; Regulation accuracy: 0.1mm;
6 | Circuit board dryer | Heating power: 500W; Power supply: AC220V/50Hz; Weight: 30Kg. | 1 |  | 0
power: 550W;
Time setting: 0~999min adjustable;
7 | Laser printer | Power supply: AC220V 50HZ; Power: printing 550W, standby 27W, energy conservation 7W; | 1 |  | 0
Overall dimension: 268mm×368mm×360mm; Net Weight: 20Kg.
8 | Exposure machine | Exposure light: 3KW advanced special exposure lamp; | 1 |  | 0
Effective wavelength: 420-640nm; Vacuum pump: vacuum degree 99.5%, power 200W;
Exposure time; 10-600s can be set; Power supply: 220V/AC 50Hz 3.2KW; Overall dimension: 1000mm×860mm×950mm;
Net Weight: 120Kg. 9.Film laminator
9 | Film laminator | Display mode: liquid crystal display; Transfer printing speed: 0.5~1.2m/min adjustable; | 1 |  | 0
Heating mode: inner-heating silicon roller;
Working voltage: 220V/50Hz; Heating tube power: 1000W; Overall dimension: length
450mm×width 600mm×height 350mm; Net weight: 40KG.
10 | Spray imaging machine | Maximum imaging size: 320mm×200mm double-sided board;Imaging mode: hanging double-sided spray imaging;Imaging time: 5S~99M59S adjustable;Imaging | 1 |  | 0
temperature: room temperature~55°C adjustable;Heating tube: 800W 316# stainless steel heating tube;Spray motor: 100W complete anticorrosive isolation pump;Imaging liquid volume: 20L (standard);Working power:
|  | AC220V/50Hz 1000W;Overall dimension: length 630mm×width 430mm×height 550mm;Net weight: 30KG. |  |  | 0
11 | Spray etching machine | Dosage of etching liquid: 20L (standard); | 1 |  | 0
Working power: AC220V/50Hz 1000W; Overall dimension: length 630mm×width 430mm×height 550mm; weight: 30KG.
Maximum etching size: 320mm×200mm double-sided board; Etching mode: hanging double-sided spraying etching;
Etching time: 5S~99M59S adjustable;
12 | Spray stripping machine | Maximum stripping size: 320mm×200mm double-sided board; Process mode: hanging double-sided spraying stripping; | 1 |  | 0
Stripping time: 5S~99M59S adjustable; Stripping temperature: room temperature~55°C adjustable;
Heating tube: 800W titanium heating tube;
Spray motor: 100W complete anticorrosive isolation pump; Dosage of stripping liquid: 20L (standard);
Working power: AC220V/50Hz 1000W; Overall dimension: 630mm×430mm×560mm;
Net weight: 30KG.
13 | Tin-sinking machine | Input power: AC220V/50Hz; Entire machine power: 2200W; | 1 |  | 0
Overall volume: length 695mm×width 550mm×height 560mm;
Net weight: 75KG.
Process dimension: 320mm×200mm double-sided board;
14 | Spray frame cleaner | Input power: AC220V/50Hz; Entire machine power: 2200W; | 1 |  | 0
Overall volume: length 695mm×width 550mm×height 560mm;
Net weight: 75KG.
15 | Alignment table | Light tube: 20 W x 4 lampContrapuntal area: 600*700mmPower supply: AC220V/80W;Weight: 30KG. | 1 |  | 0
16 | Digital Multimeter with clamp meters | Advanced: | 2 |  | 0
Automatic AC/DC voltage and range selection
True RMS capabilities
Ability to suppress false readings caused by ghost voltage
17 | Digital Multimeter with clamp meters | Measures upto 600Vac/dc | 3 |  | 0
Manual selection between AC/DC and range
18 | Digital Multimeter with clamp meters | True-rms AC/DC current, voltage, temperature, frequency clamp meter | 5 |  | 0
Energy
19 | Oscilloscope | input power:AC220/50Hz Weight 2.8kg | 3 |  | 0
Display type: TFT LCD
20 | Signal Generator | Power supply: DC5V±0.5V | 3 |  | 0
|  | 2 channel DDS Function Generator 1Hz-100MHz 200MSa/s |  |  | 0
21 | Power supply (Variable) | Output voltage 0 ~ 30V Output current 0 ~ 5A Output power 150W | 5 |  | 0
|  | Load regulation CV≤ 0.01% + 5mV, CC≤ 0.1% + 10mA |  |  | 0
22 | Spectrum analyser | input power: AC220v/50HZ; Channel 2; | 1 |  | 0
|  | Bandwidth 70 MHZ; Oscilloscope Type Bench |  |  | 0
23 | Soldering station | input power: AC220v/50HZ; Soldering Tip Temperature 450c; ESD safe Yes; | 6 |  | 0
|  | Wattage 700W; |  |  | 0
24 | Circuit Board Holder | Solid metal base and ABS arm with spring-loaded clamp support 360 degree rotation | 6 |  | 0
Adjustable width and 4 clamping thickness size to accommodate various board sizes up to 200mm wide and up to 3mm thick
Equipped with 4 rubber feet under the base ensure stability
Lightweight and portable ideal
25 | Smoke Absorber, Fume Extractor | absorb smoke from 4-5 inches away low noise high energy saving small vibration Long-lasting working time for over 57000 hours. | 6 |  | 0
26 | Compressor | Weight- 25kg | 1 |  | 0
|  | input power - 220v/50Hz motor rating 4.1 KW |  |  | 0
27 | Solar training kits | Green energy teaching equipment, Solar training kit, Solar power generation experiment box | 1 |  | 0
620 * 425 * 180mm
Power supply:AC220V±10%, 50HZ Power: ≤500W
Temperature: -10°C~+40°C
28 | Wind and Solar Energy Comprehensive Training. | Smart Grid (Solar/Wind/Fuel Cell) Training System | 1 |  | 0
Dimension: About 1700 mm x 700 mm x 1500 mm
Power supply: Single phase AC220V, power < 500 VA
Weight: about 300kg Wind driven generator: Motor
output voltage: 24V Blower: 2.2kw, AC220V/50Hz Battery group Solar panel module: Power: 30W, size 550mm×505mm×30mm, Simulated light source: Power: 100w, 220VAC
29 | Educational power training equipment | Educational Energy Power Training Equipment Fuel Cell Teaching Experiment Platform | 1 |  | 0
30 | Renewable Energy Trainer Solar Power Teaching System | Renewable Energy Trainer Solar Power Teaching System Educational Lab Equipment | 1 |  | 0
31 | Electrical Vehicle Training Center | Electrical Vehicle Training Center, Hybrid Car Trainer. Hybrid And Ev Training Equipment 1500*1200*1800mm | 1 |  | 0
Rapid Prototyping space
32 | CO2 Laser cutter | 36" by 24", 90W laser and engraving machine. | 1 |  | 0
Laser Classification: Class 3R, Power : 90 W, Power supply : AC 110v/220v, Motion : High Speed Stepper Motors
33 | 3D Printer | FDM 3D Printer, with accessories | 2 |  | 0
|  | Build Volume: 330x240x300 mm, Bed leveling: Automatic, Build Plate: Heated, Print Technology: Fused Filament Fabrication (FFF), Max. Power: 500 W |  |  | 0
34 | SLA Printer | with accessories | 1 |  | 0
|  | Technology: Stereolithography (SLA), Laser Power: 250 mW, Laser spot size: 85 micrometers, XY Resolution: 25 micrometers |  |  | 0
35 | 3D Printer | Fully Enclosed 3D Printer-200*200mm | 5 |  | 0
Print chamber: Completely closed, build size: 200x200x200 mm, Build plate: Heated,
Filament runout sensor
36 | Vacuum former | Heater: 2x 1500 Watts = 3000W total. | 1 |  | 0
Forming Area : 12” by 17”, Heater : 1500 Watts x 2 (3000 Watts), Voltage : AC 110/220, Plastics : Formable plastics (Styrene, Acrylic/Plexi-glass, Pet-G, PVC, ABS, Polyethylene, vinyl and more)
37 | Curing Station | UV curing chamber with 360-degree automatic rotating curing chamber with 200 x 260mm size L | 1 |  | 0
Max. Cure Chamber: 80 degrees C/176 F, LED Wavelength: 405 nm
,LED Power : 39 W, Turntable Diameter : 19.3 cm/7.6 in, Light Source : 13 multi-directional, LEDS Power : 90-240 VAC(50/60 Hz)
38 | Vinylcutter | 14in/35mm | 1 |  | 0
Voltage: 110/220 VAC 60 Hz, Cut Pressure: 10-500 g, Max Cutter Width: 11.22”/285 mm, Cutting Speed: 10-800 mm/s,
No. of pinch rollers : 3, Max Paper Feed : 14.76”/375 mm
39 | 3D Scanner | Scanning range: 536*378mm | 1 |  | 0
Scanning Range: 536x378 mm Accuracy: 0.1 mm, Resolution:
0.5 mm, Frame Rate: 10 fps, Output format : obj, stl, Data interface : USB 3.0
Cost of Equipment |  |  |  |  | 0
Transportat Cost to DAP (Incoterms 2010), University of Juba, South Sudan
Installation and Testing Cost
Total Cost of Equipment delivered to DAP (Incoterms 2010) University of Juba, South Sudan |  |  |  |  | 0

## LOT 4
Annex 1: LOT 4 Wood workshop,textile/creative and Fabrication Workshop
Delivery: Juba, South Sudan [Exact location: University of Juba]
NB: where specifications of a given item below relates to a particular brand, the word "or equivalent" apply.
Item # | Machine/Equipment/Software | Specifications | Quantity | Unit Cost (USD) | Amount (USD)
Wood workshop
1 | CNC Router | Bed size: 8 *4ft, Nema 34 Motors. 2,2KW Spindle | 1 |  | 0
2 | Tape measure | different tape measure sets (5 meters, 8meters, inch gauge) | 5 |  | 0
3 | Steel square |  | 5 |  | 0
4 | Hammer set | Set of 5 pcs | 5 |  | 0
5 | G clamps (Small) | Small | 5 |  | 0
6 | G clamps (medium) | Medium | 5 |  | 0
7 | G clamps (Large) | Large | 5 |  | 0
8 | Miter saw 12 " |  | 2 |  | 0
9 | Cordless Drill |  | 5 |  | 0
10 | Belt sander | 2" x 42" Belt Sander 6" Bench Grinder, Knife Sharpener with Large Work Table | 3 |  | 0
11 | Bench Vice | 8" Bench Vice | 2 |  | 0
12 | Files (set) | Flat, Round | 2 |  | 0
13 | Cable reel with industrial sockets | 40m cable with industrial sockets | 2 |  | 0
14 | Tool chest | different hand tool sets | 1 |  | 0
15 | Rubber mallets |  | 3 |  | 0
Textile/Creatives
16 | Embroidery Machines | computerized Embroidery machine | 4 |  | 0
Power Source : 220 VAC, Embroidery size : 7.9” x 11”, Automatic thread cutter, advanced needle threader, Full color touch screen with on-screen editing functions
17 | CNC Fabric Cutter | Automatic fabric cutter | 1 |  | 0
|  | Working area : 1600 mm by 2500 mm, Cutting thickness : 0.1-25.0 mm, Rated Power : 11 kW, Max. Cutting speed : 1.2 m/s, Material Fixed Method : Vacuum absorption, Cutting accuracy : 0.1 mm, motion: servo motors |  |  | 0
18 | Sewing Machines | Computerized Sewing+Embroidery+Quilting Machine | 4 |  | 0
|  | Interface : LCD Touchscreen display, Function : Computerized sewing and embroidery, Power : 110/220 VAC, Working area: 4”x 4” |  |  | 0
19 | Sewing Machines | Heavy duty overlock machine | 2 |  | 0
|  | Stitches : 1300 /min, Variable control speed : Foot pedal, Power : 110/220 VAC, Differential feed : 0.7-2.0 mm ,Knife driver type : Lower drive (retractable knife blade) |  |  | 0
20 | Sewing Machines | Heavy duty lockstitch industrial sewing machine | 4 |  | 0
|  | Stitch formation : double needle lock stitch, Max. sewing speed : 3000 rpm, stitch length : 0-8 mm, needle bar stroke : 36 mm, Working table : 240mm (width)x100 mm(high) |  |  | 0
21 | Laptops | NVIDIA GeForce GTX 1650 with 4GB GDDR5 Graphics | 2 |  | 0
9th Gen Intel Core i7-9750h (12MB Cache, up to 4. 5 GHz, 6 Cores) 16GB DDR4 2666MHz RAM
Or equivalent
Fabrication Workshop
22 | High Precision CNC Milling machine | Spindle Speed (r.p.m): 50-15000 Table Travel (mm): 700*300 Number of Axes:3 | 1 |  | 0
|  | Spindle power: 2HP Series: 1100M |  |  | 0
23 | CNC Plasma | Bed size: 8 *4ft, Nema 34 Motors, 45 Amp Plasma Source | 1 |  | 0
24 | Welding Machine | Multi-Process MIG / STICK / TIG/ SPOT 100% Duty Cycle | 2 |  | 0
25 | Generator Set | 200 kVA Gen-set | 1 |  | 0
26 | Angle grinders – powered tool | 4.5" | 5 |  | 0
27 | Angle grinders – powered tool | 9 " | 5 |  | 0
28 | Miter saw – powered tool | 12" | 3 |  | 0
29 | Chop saw– powered tool | 12" | 3 |  | 0
30 | Step Pulley Drill Press | 15-Inch Step Pulley Drill Press, 16 Speed, 1Ph 115V (354400) | 3 |  | 0
31 | Power drills | power tools | 5 |  | 0
32 | Cordless Drill | 20V Max Cordless Drill / Driver Kit, Compact, 1/2-Inch (DCD771C2) | 5 |  | 0
33 | Box Spanner set | Hand tool | 5 |  | 0
34 | Adjustable Spanner set | hand tool | 5 |  | 0
35 | Allen key set | Hand tool | 5 |  | 0
36 | Screwdriver set | hand tool | 5 |  | 0
37 | Tape measure | different tape measure sets (5 meters, 8meters, inch gauge) | 5 |  | 0
38 | Steel square | Hand tool | 5 |  | 0
39 | Hammer set | hand tool | 5 |  | 0
40 | Hacksaw + Blades | hand tool | 5 |  | 0
41 | Pipe wrench | Heavy Duty Adjustable Pipe Wrench Set, Wrench Tool Set / Toolbox, Hand tools for Plumbing, 3 Pack Set, 8, 10, 12 Inches Wrench Set with Storage Bag | 5 |  | 0
42 | Rubber mallets | Hand tool | 5 |  | 0
43 | Pliers set e.g long nose | hand tool | 5 |  | 0
44 | G clamps (Small) | 4 PCS 4 Inch C Clamp Set, Heavy Duty G-Clamps with 4-Inch Jaw Opening Sliding T-Bar Handle for DIY Carpentry Woodwork Building | 5 |  | 0
45 | Files (set) | Flat, Round | 5 |  | 0
46 | Cable reel with industrial sockets | 40m cable with industrial sockets | 5 |  | 0
47 | Tool chest | with 273 tools of various sets | 2 |  | 0
48 | Bench Vice | 8" Bench Vice | 3 |  | 0
49 | Die Grinding Wheel | Pneumatic | 3 |  | 0
50 | Dial gauge | Dial Indicator with Magnetic Base and Point Precision Inspection Set, Long Arm 0-10mm Tester Gage Gauge 0.01mm | 5 |  | 0
51 | Dremel tool with accessories | Cordless Rotary Tool Kit with Battery, Carrying Case, 2 Attachments, 28 Accessories - Ideal for Maximum Performance Cutting, Sanding, Sharpening & Grinding | 3 |  | 0
52 | Belt sander | Bucktool Combo 2" x 42" Belt Sander 6" Bench Grinder, | 3 |  | 0
Knife Sharpener with Large Work Table BG2600
Upgraded Mode
53 | Bench grinder | 8-Inch (DW758) | 2 |  | 0
54 | Variable Speed Polisher with buffing | Variable Speed, Soft Start, 7-Inch/9-Inch (DWP849X) | 3 |  | 0
55 | Drill Bits Sharpener | Portable Drill Bit Grinder End Mill Re-Sharpener with | 2 |  | 0
11 Collects Angle Adjustable High-precision MR-13B (110V, CBN wheel for HSS)
56 | Magnets | Angular magnets | 5 |  | 0
Cost of Equipment |  |  |  |  | 0
Transportat Cost to DAP (Incoterms 2010), University of Juba, South Sudan
Installation and Testing Cost
Total Cost of Equipment delivered to DAP (Incoterms 2010) University of Juba, South Sudan |  |  |  |  | 0