# Section 6: Returnable Bidding Forms / Checklist

This form serves as a checklist for preparation of your Bid. Please complete the Returnable Bidding Forms in accordance with the instructions in the forms and return them as part of your Bid submission. No alteration to format of forms shall be permitted and no substitution shall be accepted.

Before submitting your Bid, please ensure compliance with the Bid Submission instructions of the BDS 22.

Technical Bid:

| Have you duly completed all the Returnable Bidding Forms? |  |
| --- | --- |
| Form A: Bid Submission Form | ☐ |
| Form B: Bidder Information Form | ☐ |
| Form C: Joint Venture/Consortium/ Association Information Form | ☐ |
| Form D: Qualification Form | ☐ |
| Form E: Format of Technical Bid | ☐ |
| From G: Form of Bid Security | ☐ |
| Have you provided the required documents to establish compliance with the evaluation criteria in Section 4? | ☐ |

Price Schedule:

| Form F: Price Schedule Form | ☐ |
| --- | --- |

Form A: Bid Submission Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | UNDP-TUR-ITB(UR)-2022-122 |

We, the undersigned, offer to supply the goods and related services required for [Insert Title of goods and services] in accordance with your Invitation to Bid No. [Insert ITB Reference Number] and our Bid. We hereby submit our Bid, which includes this Technical Bid and Price Schedule.

Our attached Price Schedule is for the sum of [Insert amount in words and figures and indicate currency].

We hereby declare that our firm, its affiliates or subsidiaries or employees, including any JV/Consortium /Association members or subcontractors or suppliers for any part of the contract:

- is not under procurement prohibition by the United Nations, including but not limited to prohibitions derived from the Compendium of United Nations Security Council Sanctions Lists.

- have not been suspended, debarred, sanctioned, or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization.

- have no conflict of interest in accordance with Instruction to Bidders Clause 4.

- do not employ, or anticipate employing, any person(s) who is, or has been a UN staff member within the last year, if said UN staff member has or had prior professional dealings with our firm in his/her capacity as UN staff member within the last three years of service with the UN (in accordance with UN post-employment restrictions published in ST/SGB/2006/15);

- have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future.

- undertake not to engage in proscribed practices, including but not limited to corruption, fraud, coercion, collusion, obstruction, or any other unethical practice, with the UN or any other party, and to conduct business in a manner that averts any financial, operational, reputational or other undue risk to the UN and we embrace the principles of the United Nations Supplier Code of Conduct and adhere to the principles of the United Nations Global Compact.

We declare that all the information and statements made in this Bid are true and we accept that any misinterpretation or misrepresentation contained in this Bid may lead to our disqualification and/or sanctioning by the UNDP.

We offer to supply the goods and related services in conformity with the Bidding documents, including the UNDP General Conditions of Contract and in accordance with the Schedule of Requirements and Technical Specifications.

Our Bid shall be valid and remain binding upon us for the period specified in the Bid Data Sheet.

We understand and recognize that you are not bound to accept any Bid you receive.

I, the undersigned, certify that I am duly authorized by [Insert Name of Bidder] to sign this Bid and bind it should UNDP accept this Bid.

Name: 	_____________________________________________________________

Title: 	_____________________________________________________________

Date:	_____________________________________________________________

Signature: 	_____________________________________________________________[Stamp with official stamp of the Bidder]

Form B: Bidder Information Form

| Legal name of Bidder | [Complete] |
| --- | --- |
| Legal address | [Complete] |
| Year of registration | [Complete] |
| Bidder’s Authorized Representative Information | Name and Title: [Complete] Telephone numbers: [Complete] Email: [Complete] |
| Are you a UNGM registered vendor? | ☐ Yes ☐ No If yes, [insert UGNM vendor number] |
| Are you a UNDP vendor? | ☐ Yes ☐ No If yes, [insert UNDP vendor number] |
| Countries of operation | [Complete] |
| No. of full-time employees | [Complete] |
| Quality Assurance Certification (e.g. ISO 9000 or Equivalent) (If yes, provide a Copy of the valid Certificate): | [Complete] |
| Does your Company hold any accreditation such as ISO 14001 or ISO 14064 or equivalent related to the environment? (If yes, provide a Copy of the valid Certificate): | [Complete] |
| Does your Company have a written Statement of its Environmental Policy? (If yes, provide a Copy) | [Complete] |
| Does your organization demonstrates significant commitment to sustainability through some other means, for example internal company policy documents on women empowerment, renewable energies or membership of trade institutions promoting such issues | [Complete] |
| Is your company a member of the UN Global Compact | [Complete] |
| Contact person that UNDP may contact for requests for clarifications during Bid evaluation | Name and Title: [Complete] Telephone numbers: [Complete] Email: [Complete] |
| Please attach the following documents: | Certificate of Incorporation/ Business Registration Trade name registration papers, if applicable Signature Circular/Power of Attorney Certification or authorization to act as agent / dealer / distributer on behalf of the Manufacturer. Patent Registration Certificates if any of technologies submitted in the Bid is patented by the Bidder. Export Licenses, if applicable Official Letter of Appointment as local representative, if Bidder is submitting a Bid on behalf of an entity located outside the country. |

Form C: Joint Venture/Consortium/Association Information Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | UNDP-TUR-ITB(UR)-2022-122 |

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

| No | Name of Partner and contact information (address, telephone numbers, fax numbers, e-mail address) | Proposed proportion of responsibilities (in %) and type of goods and/or services to be performed |
| --- | --- | --- |
| 1 | [Complete] | [Complete] |
| 2 | [Complete] | [Complete] |
| 3 | [Complete] | [Complete] |

| Name of leading partner (with authority to bind the JV, Consortium, Association during the ITB process and, in the event a Contract is awarded, during contract execution) | [Complete] |
| --- | --- |

Bidders shall attach either one of the copies of the below documents signed by every partner, which details the likely legal structure of and the confirmation of joint and severable liability of the members of the said joint venture:

☐ Letter of intent to form a joint venture (JV) or

☐ JV / consortium / association agreement

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNDP for the fulfillment of the provisions of the Contract.

| Name of partner: ___________________________________ | Name of partner: ___________________________________ |
| --- | --- |
| Signature: ______________________________ | Signature: _______________________________ |
| Date: ___________________________________ | Date: ___________________________________ |
| Name of partner: ___________________________________ |  |
| Signature: ______________________________ |  |
| Date: ___________________________________ |  |

Form D: Eligibility and Qualification Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | UNDP-TUR-ITB(UR)-2022-122 |

If JV/Consortium/Association, to be completed by each partner.

History of Non- Performing Contracts

| ☐Non-performing contracts did not occur during the last 3 years (1 October 2019 and onwards) |
| --- |
| ☐ Contract(s) not performed in the last 3 years |
| Year | Non- performed portion of contract | Contract Identification | Total Contract Amount (current value in USD) |
|  |  | Name of Client: Address of Client: Reason(s) for non-performance: |  |

Litigation History (including pending litigation)

| ☐ No litigation history for the last 3 years (1 October 2019 and onwards) |
| --- |
| ☐ Litigation History as indicated below |
| Year of dispute | Amount in dispute (in USD) | Contract Identification | Total Contract Amount (current value in USD) |
|  |  | Name of Client: Address of Client: Matter in dispute: Party who initiated the dispute: Status of dispute: Party awarded if resolved: |  |

Previous Relevant Experience

Please list only previous similar assignments successfully completed in the last 5 years. (1 October 2017 and onwards)

List only those assignments for which the Bidder was legally contracted by the Client as a company or was one of the Consortium/JV partners. Assignments completed by the Bidder’s individual experts working privately or through other firms cannot be claimed as the relevant experience of the Bidder, or that of the Bidder’s partners or sub-consultants, but can be claimed by the Experts themselves in their CVs. The Bidder should be prepared to substantiate the claimed experience by presenting copies of relevant documents and references if so requested by UNDP.

| Project name & Country of Assignment | Client & Reference Contact Details | Contract Value | Period of activity and status | Types of activities undertaken |
| --- | --- | --- | --- | --- |

In the case a bidder submits a contract in a currency other than TRY (Turkish Liras) that value shall be converted to TRY by using UN Operational Rate of Exchange of the contract date at the above table.

Bidders shall submit Statements of Satisfactory Performance (i.e. Reference Letters, Work Completion Certificates) along with their bids. Reference letters and/or Completion Certificates shall include the information requested in above table at minimum.

Financial Standing

| Annual Turnover for the last 3 years* | Year 2019 USD Year 2020 USD Year 2021 USD |
| --- | --- |
| Latest Credit Rating (if any), indicate the source |  |

| Financial information (in USD equivalent*) | Historic information for the last 3 years |
| --- | --- |
|  | 2019 | 2020 | 2021 |
|  | Information from Balance Sheet |
| Total Assets (TA) |  |  |  |
| Total Liabilities (TL) |  |  |  |
| Current Assets (CA) |  |  |  |
| Current Liabilities (CL) |  |  |  |
|  | Information from Income Statement |
| Total / Gross Revenue (TR) |  |  |  |
| Profits Before Taxes (PBT) |  |  |  |
| Net Profit |  |  |  |
| Current Ratio |  |  |  |

*In the case of financial values are in a currency other than USD bidders shall convert the value which was effective for 31 December of each corresponding year by using UN Operational Rates of Exchange for the relevant period and specify USD values in above tables. UN Operational Rates of Exchange are available at the following website: https://treasury.un.org/operationalrates/OperationalRates.php#E

Bidders shall submit copies of the audited financial statements (balance sheets, including all related notes, and income statements) for the years required above complying with the following condition:

  - Historic financial statements must be audited by a certified public accountant.

  - Historic financial statements must correspond to accounting periods already completed and audited. No statements for partial periods shall be accepted.

  - Must reflect the financial situation of the Bidder or party to a JV, and not sister or parent companies.

Form E: Format of Technical Bid

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | UNDP-TUR-ITB(UR)-2022-122 |

Technical Compliance Table

Bidders shall fill out below table by indicating the Brand Name of the products offered as well as the specifications of the offered products corresponding to the specifications listed in below table.

Offered specifications shall meet the minimum requirements stipulated in below table.

| LOT 1 340Wp Portable Solar Power Set LOT 1 340Wp Portable Solar Power Set |
| --- |
| Item to be supplied description // Tedarik edilecek ürün tanımı | Set Content // Set İçeriği | Quantity // Miktar |
| Min. 340 Wp (Single or 2x170 Wp) Polycrystalline Solar Module | 1 X 340Wp or // veya 2 X 170Wp | 630 sets // 630 set |
| MS 1200 W Modified Sine Inverter | 1 unit |  |
| 20A 12/24 V Charge Regulator (with MPPT feature and LCD screen) | 1 unit |  |
| 200Ah Gel Battery (2x100 Ah or 1x200 Ah) | 1 X 200Ah or // veya 2 X 100Ah |  |
| PV substructure / Panel-Electric Cabling (including consumables such as battery cable, protection fuse, cable duct, battery terminals or lugs) | 1 unit |  |
| Technical Specifications Teknik Şartname | Offered technical specifications by the Bidder shall be inserted in English. Firma tarafından teklif edilen teknik özellikler İngilizce olarak verilmelidir. |
| SOLAR PANEL PV modules must be within the instantaneous output power tolerance of [0, + 5Wp]. All modules must be ordered with positive power tolerance only. All PV modules shall be 'higher than nominal' of the power output report of the flash test at the manufacturing plant. Negative power tolerance shall not be accepted. The PV panel type to be used shall have a crystalline structure. The power of the PV Solar Panel (Solar Module) must be minimum 340 Wp. PV panels must be of identical / same brand PV module manufacturers. All Solar PV modules shall be of the same brand and shall have the same type and power. The connectors of the FV modules must be of the original MC4 family. Connectors to be used in the DC system must be of the same brand, model and identical. The connectors of the FV modules must meet the IP67 water resistance standard. PV module efficiency Standard Test Conditions (Standard Test Conditions: shall be at least 17% under 1000W/m² radiation 25ºC module temperature and AM = 1.5 spectrum), and PV modules with an efficiency of less than 17% shall not be accepted. Against power drops caused by shadowing, at least 2 of the PV modules shall have by-pass diodes. Protection shall be provided so that there is no current flow to the PV modules, when energy is not generated. The front glasses of PV modules must be resistant to external stresses. (For example, the glass shall not break easily in case of throwing rocks or against impacts such as ice and hail.) PV modules and fasteners shall have wind resistance with a capacity to withstand at least 130 km / hour wind. PV Modules shall be able to withstand a wind load of min. 2400 Pa and a snow load of min. 5400 Pa. PV module connection box (Junction Box) must be rated IP 67 protection class at least and there must be no cover falling problem in hot or cold weathers. The (+) and (-) poles of the PV Module direct current output cables and convectors shall be easily distinguishable. The direct current output cables of the PV module shall be 2 cables with a length of at least 10 meters for each pole, in compliance with TS EN50525-2-11 standards or foreign/international equivalent standards, with a minimum cross-section of 6 mm² (one red, one black). Frames mounted with bolts on solar panels shall not be accepted. Panel frames must be pressed and at the same time punched. The frame of PV modules must be made of corrosion resistant material (anodized aluminium). PV modules shall operate smoothly within a temperature range of -40 ° C to + 85 ° C and a relative humidity range of 0 to 90%. This must be readable from the provided technical document. The warranty documents given by the manufacturer for the Modules offered. When necessary, values under normal operating conditions may also be requested. PV modules to be used in the solar energy system shall have been manufactured in 2021 or later. The lifespan of the PV modules must have a minimum of 10 years of mechanical and 20 years of performance warranty. Linear energy guarantee shall be such that the Contractor shall commit that it shall provide at least 90% of the panel power at the end of 10 years and at least 80% at the end of 20 years. Linear guarantee for panels must be presented in the offer, together with the product catalogues. Each of PV modules shall have at least 2 serial number barcode (one of which shall be inside the glass of the module) and 1 label. The FV module label shall include, but is not limited to, at least the following. Vmpp, Voc Impp, Ioc, Pmpp, NOCT values, Max operating voltage value Length, weight data Power tolerance Quality class Test conditions (STC) (Radiation, temperature, humidity) Brand, model, serial number details CE marking Country of Production Name of the Manufacturer Company During the production of the panels, the logos of the Ministry of Agriculture and Forestry, IFAD, UNDP and URDP Project shall be prepared to be clearly visible after applying an in-glass lamination process inside the panels. The serial number of each panel shall be readable in the window and the test report shall be arranged according to the serial number. The name and surname of the farmer, project number and delivery date shall be tagged on the panel frames by a fixed and permanent method. The contractor must provide the laboratory test results of the panels, at the time of delivery. INVERTER (Inverter, Modified Sine) It shall have a nominal power of 1200W, input voltage shall be: 12 Volt DC voltage, output voltage shall be 220/230 Volt AC 50 Hertz. The inverter shall have overload, high temperature, low voltage, and short circuit protections features. The inverter shall have an operating temperature range of 0 - +40 ˚C and shall be able to operate at a maximum relative humidity of 90%. The inverter shall have a minimum efficiency of 90%. Inverters shall be able to operate with gel battery. In case of overload, overvoltage, and short circuit, it shall protect the system and restart the inverter. It must be able to give an audible warning in case of overload and heating. The inverter’s voltage input must be in the range of at least 10.5 Vdc - maximum 16 Vdc. It must have Low voltage alarm (9.5 V +,-) to protect the battery. It must have protection fuses. MS inverter must have a CE mark. The inverter must be guaranteed for at least 2 years. It shall have EN60950, EN55022 Standards. It shall have a cooling fan. It shall have minimum 1 USB output. SOLAR CHARGE REGULATOR 12 Volt / 24 Volt 20 Amps Automatic sensing charge regulator The charging module shall have MPPT feature. 12 / 24V automatic recognition, load operating mode: ON / OFF The battery charge regulator shall charge the batteries using the electrical energy generated by the solar panels, and at the same time provide protection so as not to put the batteries in overload and discharging conditions. The system voltage shall have an output according to the battery to be used. It shall be compatible with high level gel battery. Float voltage shall be 13.8V (13V-15V adjustable), Boost voltage shall be 14.4V. Battery overvoltage protection shall be 16.5 V. The input voltage value of the device shall be at least 50 V. It shall have a digital display to show the charge status and errors. The solar charger must have heat compensated battery charging capability. The operating range shall be outdoor temperature values of -20…. + 55ᴼC. It must have a CE mark. GEL BATTERY Batteries shall be long-lasting, suitable for solar energy system, maintenance-free, and since the system will operate in a closed cabinet, the accumulators shall be in gel form. It shall have a reliable constant output current. Batteries to be used shall be resistant to deep discharge and shall have an enclosed structure. It shall have stable performance. The number of battery cycles must be> 1000 at the 50% DOD level. It shall be 100% maintenance-free. A 2-year warranty must be given by the manufacturer. Batteries shall work smoothly at 0 – 90% relative humidity at an ambient temperature range of 0 to + 50° C, when it is installed at an elevation of 0 – 2,000 m. The o–erating voltage shall be at least 12 VDC. The battery shall be at least 100 Ah. There shall not be more than 120 days of difference between the date of manufacture of the batteries and the date of delivery to the administration. The name of the manufacturer company, date of manufacture, nominal voltage, “+” and “-“ signs and voltage shall be indelibly written on the accumulator. SOLAR CABLE The PV energy cables on the PV module shall be resistant to high temperature and heat, UV-resistant, double insulated, halogen-free, lead-free, and shall be produced in accordance with TS EN 60228 standards or foreign/international equivalent standards. Solar cables shall be used at an operating temperature of 90 ℃ without any problem. In the PV - solar cable and solar cable-charge regulator- inverter connections, MC4 type male and female type connectors shall be used. Connectors, special fasteners, and sockets shall be suitable for an operating temperature range of -40 °C to + 90°C, suitable for high current and approved type. PV SUB-CONSTRUCTION Solar energy panels shall be designed to be suitable for transportation. The construction to be used in the system shall be in an easily mountable form. It should be in a manner so that it can be demounted and mounted when needed. The panels shall be mounted by connecting to aluminium rails with connection apparatus (clamps). The rails shall be designed in a way that they will be connected to triangle legs. The triangle legs shall be made from stainless material. BOARD -ELECTRIC INSTALLATION Boards must be suitable for carrying, with handles and covers. There must be air intake channels to prevent overheating. On the surface of the board, there must be at least 1 piece of Socket with 220 AC output, with child protection, necessary warning label and fuse protection. The boards shall bear metal tags containing the date of manufacture, model and serial numbers, and these tags must be visible on the board. All warning, death danger signs, operating instructions and warning instructions plates that must be present on the board and other main components (equipments) shall be properly attached. It shall allow the charge regulator screen to be seen on the cover. It shall be designed so that all switches and screens are on the outer cover. All components (Battery-Inverter-Charge Regulator) shall be fixed so that the components are not damaged during transportation. The board must be manufactured of at least 0.8 mm DKP sheet metal. Boards shall be delivered painted in appropriate colours as defined by the Administration. In order to transfer energy between the board and panel, solar PV type cable must be placed according to the construction approved by the administration. For visibility, the phrase "KIRSAL DEZAVANTAJLI ALANLAR KALKINMA " must be written on the boards by paint, plate, or sticker. The plates used must be prepared in an easily readable size and mounted in such a way that they cannot fall. If paint or stickers are to be used, they must be prepared in easily readable sizes, and they must be indelible and long-lasting by using materials that shall not fade. All electrical and electronic devices belonging to the solar energy system to be installed and the cabinets which will contain them, all carrier construction, metal parts and auxiliary metal mounting materials shall be grounded. Grounding in accordance with the standards shall be made on both DC side and AC side by the contractor. The placement of the components (equipments) in the board shall be designed so that the board shall not be damaged during the transportation. GENERAL GUIDELINES All materials and equipment shall be manufactured and installed in accordance with the production techniques in the electrical manufacturing and installation industry and shall comply with the standards stipulated in the respective item. In case a standard listed within this Technical Specifications is abolished or cancelled, the standard replacing it will be considered suffice. If identical or similar in terms of quality or characteristics of the devices offered by the bidders cannot be found, it shall substitute with the higher quality ones upon the approval of the administration and shall not request any cost for this. The system components to be installed shall have a product warranty of at least 2 (two) years on part basis. All devices to be used in the system shall be brand new and unused, with information such as signs, letters, numbers etc. indicating the brand, model, and date of manufacture. Malfunctions in portable solar energy systems shall be fixed by the contractor as soon as possible in accordance with the beneficiary's residence conditions. The contractor company has to deliver the subject matter systems to the places to be shown by Mersin Provincial Agriculture and Forestry Directorate, located at district centers of MERSİN MERKEZ, TARSUS, SİLİFKE, ERDEMLİ and MUT, within 90 days after signing the contract. The default penalty specified in the contract shall be applied for each day of delay. The assembly, installation, operation, fault detection and maintenance manual of all equipment shall be in Turkish and English and shall be delivered on the date of signing. Damages detected during the delivery of Portable Solar Energy panels shall be repaired by the contractor. There shall be no foreign substances (oil, dirt, metallic residue, etc.) on all parts before assembly. The accuracy of the power of the solar panels to be procured within the scope of the tender must be submitted and delivered to the Provincial Directorate of Agriculture and Forestry, where the FLAŞ Test (I-V CURSE Test as well as the ELECTROLYMUNANCE (EL) Test for cellular cracks and durability in solar panels). The Contractor shall demonstrate 1 unit of prototype solar energy set to the Control Engineer of the administration, prior to the delivery of the solar energy sets to the administration. WARRANTY CONDITIONS All equipment and tools used in the system (including workmanship quality) shall be flawless, new and of first quality. When the materials used (including any part) fail due to design, workmanship or material quality within the warranty periods, the contractor shall be obliged to supply and install the same material. The warranty periods of the components to be used in the system, starting from the temporary acceptance date of the PV System, shall be as follows: Photovoltaic solar panels; 10 years physical resistance (mechanical, electrical-electronic etc.) warranty certificate Solar panel sub-construction; 2 years. Inverters; 2 years. Other parts / sections; 2 years. Defects and malfunctions, other than due to force majeure and user errors, that occur within the scope of the warranty period shall be remedied by reparation/replacement of the broken hardware, parts, or sections by the contractor free of charge. All kinds of insurance, transportation, cargo and other expenses in the repair, maintenance, replacement of the devices shall be borne by the contractor. Failures with the same character occurring in 10% of an identical part or element in the systems during the warranty period are considered characteristic failures. The costs related to solving these malfunctions, along with delivery to the user and setup costs shall be under the responsibility of the contractor, and the malfunctions and costs that occur shall be remedied by the contractor as soon as possible considering the area where the portable solar energy system is installed and the transportation conditions. OTHER ISSUES All materials and system design to be used in the project shall comply with the provisions of the Electricity Facilities Project Regulation and the Electricity Generation and Electricity Storage Facilities Acceptance Regulation and other relevant legislation. The place of delivery of the solar systems are; places to be shown by Mersin Provincial Agriculture and Forestry Directorate, located at district centers of MERSİN MERKEZ, TARSUS, SİLİFKE, ERDEMLİ and MUT. All kinds of essential and auxiliary equipments and mandatory works that are not mentioned in the technical specification and its annexes, but which are required by the technique of the work and for the functional operation of the system and for the establishment of a problem-free operation, shall be considered as matters in favour of the Administration and shall be carried out within the tender price. No fee shall be requested from the Administration regarding these. Except for the works and groups specified in the technical specification, the procurement, delivery to Mersin Province, overhead and profits of all kinds of auxiliary materials, which are not mentioned in the technical specifications and contract annexes, but which are required to be made within the scope of the work, are included in the price offered, and the said works shall be under the liability of the company. Delivery of the package system to nomad families at units to be defined and in places to be shown by Mersin Provincial Agriculture and Forestry Directorate, located at district centers of MERSİN MERKEZ, TARSUS, SİLİFKE, ERDEMLİ and MUT, making the system functional together with the construction, training the relevant user and all other system requirements as well as all works and transactions shall be under the liability of the contractor, and they shall be carried out without any additional cost. In case the solar panel system does not work after installation, the contractor will undertake the change/repair of the system. No cost will be requested for these. The company shall be responsible for any damage and loss that may occur during the assembly of the work; the damage to be determined shall be compensated by the company. Bidders who submit bids must submit Capacity Report and Manufacturing Certificate related to the manufacturing company regarding solar panels, at the time of contract signature. The contractor will ensure compliance with occupational safety laws during the delivery process. While using the device, life safety responsibility belongs to the user. Components forming the portable solar power system, along with the technical specifications of these components have been stipulated within the technical specifications in detail. Apart from taking these specifications into consideration, the bidders should also take the prevailing designs in market/practice into consideration for issues regarding design which have not been stipulated within the technical specifications. | SOLAR PANEL FV modüller, [0, + 5Wp] anlık çıkış gücü toleransı içinde olmalıdır. Tüm modüller sadece pozitif güç toleransıyla sıralanmalıdır. Tüm PV modülleri, imalat fabrikasında flaş testinin güç çıkış raporunun 'nominal değerinden yüksek' olacaktır. Negatif güç toleransı kabul edilmeyecektir. Kullanılacak olan FV panel tipi polikristal yapıda olacaktır. FV Güneş Paneli (Solar Modül) gücü minimum 340 Wp olmalıdır. FV modüller özdeş / aynı marka FV modül üreticilerinden olmalıdır. Tüm Solar FV modülleri aynı marka, aynı tip ve güçte olacaktır. FV modüllerinin konnektörleri orijinal MC4 familyasından olmalıdır. DC sistemde kullanılacak konnektörler aynı marka, model ve özdeş olmalıdır. FV modüllerin konnektörleri IP67 suya dayanıklılık standardını sağlamalıdır. FV modül verimi Standard Test Koşulları (Standart Test Koşulları: 1000W/m² ışınım, 25ºC modül sıcaklığı ve AM=1,5 spektrum) altında en az %17 olacaktır, verimliliği %17’nin altında olan FV modüller kabul edilmeyecektir. Gölgelenmenin neden olduğu güç düşüşlerine karşı, FV modüller az 2 adet by-pass diyotlu olacaktır. Enerjinin üretilmediği durumda FV modüllere akım geçişi olmayacak şekilde koruma yapılacaktır. FV modüllerin ön camları harici olarak uygulanacak zorlanmalara karşı dayanıklı olacaktır. (Örneğin taş atılması durumunda veya buz, dolu gibi parça darbelerine karşı cam kolaylıkla kırılmayacak yapıda olacaktır.) FV modüller ve bağlantı elemanları en az 130 km/saat hızındaki rüzgâra dayanabilecek kapasitede rüzgâr direncine sahip olacaktır. FV Modüller min. 2400 Pa rüzgar yüküne ve min 5400 Pa kar yüküne dayanabilecek yapıda olacaktır. FV modül bağlantı kutusu (Junction Box) en az IP 67 koruma sınıfında olmalı ve sıcak veya soğuk havalarda kapak düşme sorunu olmamalıdır. FV modül doğru akım çıkış kabloları ve konvektörlerinin (+) ve (-) kutupları ayırt edilebilir yapıda olacaktır. FV modül doğru akım çıkış kabloları her bir kutup için en az 10 metre uzunlukta, TS EN50525-2-11 standartlarına veya yabancı/uluslararası dengi standartlara uygun olmalıdır ve de minimum 6 mm² kesitinde 2 adet (bir adet kırmızı renkli, bir adet siyah renkli) kablo olacaktır. Güneş panellerinde cıvatalı olarak montajlanmış çerçeveler kabul edilmeyecektir. Panel çerçeveleri preslenmiş, aynı zamanda punch işlemi de görmüş olmalıdır. FV modüllerin çerçevesi korozyona dayanıklı malzemeden imal edilmiş ve paslanmaz yapıda (anodize alüminyum) olmalıdır. FV modüller: -40 °C ile + 85 °C sıcaklık aralığında ve %0 -90 bağıl nem aralığında sorunsuz çalışacaktır. Bu durum sunulan teknik dokümandan okunabilecektir. Teklif edilen modüller için üreticinin vereceği garanti belgeleri. Gerektiğinde Normal çalışma koşullarındaki değerler de istenebilecektir. Güneş enerjisi sisteminde kullanılacak FV modüller 2021 veya sonrasında üretilmiş olacaktır. FV modülerin ömrü minimum 10 yıl mekanik ve 20 yıl performans garantisine sahip olmalıdır. Lineer enerji garantisi, panel gücünün 10 yıl sonunda en az %90’ını ve 20 yılsonunda en az %80’ini sağlayacak şekilde olmasını yüklenici taahhüt edecektir. Panellerin lineer garantisi ürün katalogları ile birlikte teklifte sunulmalıdır. FV modüllerin her birinde en az 2 adet (biri modülün camının içinde olacak) seri numarası barkodu ve 1 adet etiket bulunacaktır. FV modül etiketi bunlarla sınırlı olmamak üzere en az aşağıdakileri içerecektir. Vmpp, Voc Impp, Ioc, Pmpp, NOCT değerleri Max çalışma gerilimi değeri Uzunluk, ağırlık verileri Güç toleransı Kalite sınıfı Test koşulları (STC) (Işınım, sıcaklık, nem) Marka, model, seri numarası bilgileri CE işareti Üretilen Ülke Üretici Firma İsmi Panellerin imalatı sırasında Tarım ve Orman Bakanlığı, IFAD, UNDP ve KDAK Projesi logoları panellerin içine cam içi laminasyon işlemi uygulanarak net olarak görülecek şekilde hazırlanacaktır. Her bir panelin mutlaka seri numarası cam içinde okunur şekilde olacak ve test raporu seri numarasına göre düzenlenecektir. Panel çerçevelerine sabit ve kalıcı etiket yöntemiyle, çiftçinin adı, soyadı proje numarası yazılacaktır. Teslim sırasında yüklenici firma panellere ait laboratuar test sonuçlarını vermek zorundadır. EVİRİCİ (İnvertör, Modifiye Sinüs) Nominal 1200W gücünde, giriş gerilimi: 12 Volt DC gerilimi, çıkış gerilimi: 220/230 Volt AC 50 Hertz olacaktır. Evirici, aşırı yük, yüksek sıcaklık, düşük gerilim ve kısa devre korumalarına sahip olacaktır. Evirici, çalışma sıcaklık aralığı: 0, +40 ˚C olacak ve maksimum %90 bağıl nemde çalışabilecektir. Evirici verimi minimum % 90 olacaktır. Eviriciler jel aküyle çalışabilecek yapıda olacaktır. Aşırı yük, gerilim ve kısa devre durumunda sistemi korumaya alarak eviriciyi yeniden başlatacaktır. Aşırı yük ve ısınma durumunda sesli ikaz verebilmelidir. Evirici gerilim girişi en az 10.5 Vdc – en çok 16 VDC aralığında olmalıdır. Aküyü korumak için düşük gerilim alarmına (9,5 V+,-) haiz olmalıdır. Koruma sigortalarına sahip olmalıdır. MS evirici CE işareti taşımalıdır. Evirici en az 2 yıl garantili olmalıdır. EN60950, EN55022 Standartlarına sahip olacaktır. Soğutma fanı olacaktır. En az 1 adet USB çıkışı olacaktır. SOLAR ŞARJ REGÜLATÖRÜ 12 Volt / 24 Volt 20 Amper Otomatik algılamalı şarj regülatörü Şarj modülü MPPT özelliğine sahip olacaktır. 12/24V otomatik tanıma, yük çalışma modu: ON / OFF Akü şarj regülatörü güneş panelleri tarafından üretilen elektrik enerjisi ile akülerin şarjını sağlayacak, aynı zamanda aküleri aşırı yükleme ve boşaltma durumuna sokmayacak şekilde koruma sağlayacaktır. Sistem gerilimi kullanılacak aküye uygun olacak şekilde çıkış verecektir. Yüksek düzey jel akü uyumlu olacaktır. Float voltajı 13,8 V (13 V-15 V ayarlanabilir), Boost voltajı 14,4 V olacaktır. Akü aşrı gerilim koruması 16,5 V olacaktır. Cihazın giriş gerilim değeri minimum 50 V olacaktır. Şarj durumu ve hataları gösterecek dijital ekranlı olacaktır. Solar charger ısı kompanzasyonlu akü şarj özelliğine sahip olmalıdır. -20….+55ᴼC dış ortam sıcaklık değerleri çalışma aralığı olacaktır. CE işaretine sahip olacaktır. JEL AKÜ Aküler uzun ömürlü güneş enerjisi sistemine uygun bakım gerektirmeyen ve sistem kapalı bir kabin içerisinde çalışacağından akümülatörler jel yapıda olacaktır. Güvenilir sabit çıkış akımı olacaktır. Kullanılacak olan aküler derin deşarja dayanıklı ve kapalı yapıda olacaktır. İstikrarlı performansa sahip olacaktır. Akülerin döngü sayısı %50 DOD seviyesinde >1000 olmalıdır. %100 bakım gerektirmeyecektir. Üretici tarafından 2 yıl garanti verilmelidir. Aküler ; 0 ve +50 °C ortam ısısında , 0 – 2000 m. yükseklikte kurulu bulunduğu hallerde, % 0 – 90 bağıl nem oranında sorunsuz çalışacaktır. Çalışma gerilimi en az 12 Vdc olacaktır. Akü en az 100 Ah olacaktır. Akülerin imalat tarihi ile idareye teslim tarihi arasında 120 günden fazla olmayacaktır. Akümülatör üzerine imalatçı firma adı, imalat tarihi nominal gerilimi “+”ve “-“ işaretleri, gerilimi silinmeyecek şekilde olacaktır. SOLAR KABLO FV modül üzerindeki FV enerji kabloları yüksek sıcaklık ve ısıya dayanıklı, UV dirençli, çift izoleli, halojensiz, kurşunsuz, TS EN 60228 standartlarına veya yabancı/uluslararası dengi standartlara uygun olarak üretilmiş olacaktır. Solar kablolar 90°C çalışma sıcaklığında sorunsuz kullanılacaktır. FV – solar kablo ve solar kablo –şarj regülatörü- inverter bağlantılarında MC4 tipi erkek ve dişi tip konektörler kullanılacaktır. Konnektörler, özel bağlantı elemanları ve soketler -40°C ile +90°C arası işletme sıcaklığına uygun, yüksek akıma uygun, onaylı olacaktır. FV ALT KONSTRÜKSİYON Güneş enerji panelleri, taşımaya uygun bir şekilde tasarlanmış olacaktır. Sistemde kullanılacak konstrüksiyon kolay montaj yapılacak yapıda olacaktır. Gerektiğinde sökülüp takılabilecek şekilde montaja uygun olacaktır. Paneller alüminyum raylara bağlantı aparatları ile tutturulup (tutucu-clamp) monte edilecektir. Raylar üçgen ayaklara monte edilecek şekilde tasarlanacaktır. Üçgen ayaklar paslanmaz malzemeden olacaktır. PANO -ELEKTRİK TESİSATI Panolar taşımaya uygun, kulplu, kapaklı olmalıdır. Aşırı ısınmayı önlemek için hava giriş kanalları olmalıdır. Pano yüzeyinde olacak şekilde topraklı 220 AC çıkışı çocuk korumalı, gerekli ikaz etiketli ve sigorta korumalı en az 1 adet priz olmalıdır. Panoların üzerinde; üretim tarihi model ve seri numaraları içeren metal etiket olmalıdır ve bu etiketler panonun görülebilecek yerinde olmalıdır. Pano ve diğer ana komponentler (ekipmanlar) üzerinde bulunması gereken tüm ikaz, ölüm tehlike levhası, kullanma talimatı ve uyarı talimatı plakaları uygun şekilde takılacaktır. Kapağında şarj regülatörünün ekranını görebilecek şekilde olacaktır. Bütün anahtar ve ekranlar dış kapak üzerinde olacak şekilde tasarlanacaktır. Taşıma sırasında bileşenler zarar görmesin diye tüm bileşenler (Akü-Evirici-Şarj Regülatörü) sabitlenmiş olacaktır. Pano en az 0,8 mm DKP saç ile imal edilmeli. Panolar İdare tarafından uygun görülen renklere boyanmış şekilde teslim edilecektir. Panel ile pano arasına enerji aktarımını sağlamak için idarenin onay verdiği konstrüksiyona göre solar PV tipi kablo konulmalıdır. Görünürlük için panolar üzerine ''KIRSAL DEZAVANTAJLI ALANLAR KALKINMA PROJESİ MERSİN 2022'' ibaresi boya, plaka ya da çıkartmayla yazılmalıdır. Kullanılan plakalar kolay okunabilir boyutta hazırlanmalı ve düşmeyecek şekilde monte edilmelidir. Boya veya çıkartma kullanılacaksa kolay okunabilir boyutlarda hazırlanması, silinmeyecek, solmayacak malzemeler kullanılarak uzun ömürlü olması sağlanmalıdır. Kurulacak güneş enerjisi sistemine ait tüm elektrikli ve elektronik cihazlarla, bunların içine konulacağı kabinler, tüm taşıyıcı metal aksamlar, konstrüksiyon ile metal aksamlar, tüm yardımcı metal montaj malzemeleri topraklanacaktır. Hem DC tarafta hem de AC tarafta standartlara uygun topraklamalar yüklenici tarafından yapılacaktır. Pano içerisindeki komponentlerin (ekipmanlar) yerleşimi panonun taşınması sırasında zarar görmeyecek şekilde tasarlanacaktır. GENEL ESASLAR Tüm malzeme ve teçhizat, elektrik imalat ve tesisat endüstrisindeki üretim tekniklerine uygun olarak imal ve tesis edilecek ve ilgili maddelerde belirtilen standartlara uygun olacaktır. İhale sürecinde işbu teknik şartnamede belirtilen bir standardın yürürlükten kalkması veya iptal edilmesi durumunda yerine geçen standarda uygunluk da yeterli kabul edilecektir. İsteklilerin teklif ettikleri cihazların kalite veya hususiyet itibariyle aynısı veya benzeri bulunmadığı taktirde, daha yüksek kalitede olanları idarenin onayı ile teslim edecek ve bu bunun için herhangi bir ücret talebinde bulunamayacaktır. Kurulacak sistem elemanları parça bazında en az 2 (iki) yıl ürün garantisine sahip olacaktır. Sistem içerisinde kullanılacak tüm cihazlar, yeni (brand new) ve kullanılmamış (unused) olacak, üzerlerinde marka, model ve imal tarihini gösteren işaret, yazı, rakam vs. türünden bilgiler bulunacaktır. Taşınabilir Güneş enerji sistemlerinde meydana gelecek arızalar yüklenici tarafından yararlanıcının ikamet şartlarına uygun olarak en kısa zamanda giderilecektir. Yüklenici firma sözleşmeyi imzaladıktan sonra 90 gün içinde sözleşme konusu sistemlerin MERSİN MERKEZ, TARSUS, SİLİFKE, ERDEMLİ ve MUT İlçe merkezlerinde, Mersin İl ve Orman Müdürlüğünce gösterilen alanlarda teslimini yapacaktır. Geciken her gün için sözleşmede belirtilen gecikme cezası uygulanır. Bütün ekipmanların montajı, kurulumu, işletimi, arıza tespiti ve bakım el kitabı Türkçe ve İngilizce olacaktır ve imza tarihinde teslim edilecektir. Taşınabilir Güneş Enerji panellerinin teslimi sırasında tespit edilen zararların yüklenici tarafından onarımı yapılacaktır. Montaj öncesinde tüm parçaların üzerinde herhangi bir yabancı madde (yağ, kir, metalik kalıntı, vs.) olmayacaktır. İhale kapsamında temin edilecek solar panellerin güçlerinin doğruluğu FLAŞ Test (I-V CURSE Testi ayrıca solar panellerde hücresel çatlak ve sağlamlık için ELEKTROLÜMÜNANS (EL) Testinin) belgelenmesinin panellerin tesliminin yapılacağı İl Tarım ve Orman Müdürlüğüne teslim edilmesi gerekmektedir. Yüklenici, güneş enerji setlerini idareye teslim etmeden önce 1 adet prototip güneş enerjisi setinin demonstrasyonunu idare Kontrol Mühendisine yapacaktır. Prototip setin, işbu şartnamede belirtilen teknik kriterlere uygun olduğunun tespiti akabinde, bu prototipe göre üretilen güneş enerjisi setleri muayene ve kabul yapılmak üzere idareye teslim edilecektir GARANTİ KOŞULLARI Sistemde kullanılan bütün ekipman ve araçlar (işçilik kalitesi dahil) hatasız, yeni ve birinci kalitede olacaktır. Kullanılan malzemeler (herhangi bir parçası dahil) garanti periyotları içerisinde tasarım, işçilik veya malzeme kalitesinden dolayı arızalandıklarında, yüklenici aynı malzemeyi temin edip kurmakla yükümlü olacaktır. Sistemde kullanılacak komponentlerin, FV Sistem geçici kabul tarihinden itibaren, garanti periyotları aşağıdaki şekilde olacaktır: Fotovoltaik güneş panelleri; 10 yıl fiziksel dayanım (mekanik, elektrik-elektronik vb.) garanti belgesi Güneş paneli alt konstrüksiyonu; 2 yıl. İnverterler; 2 yıl. Diğer kısımlar/parçalar; 2 yıldır Garanti süreleri kapsamında meydana gelen mücbir sebepler ve kullanıcı hataları dışındaki kusur ve arızalar, arızalanan donanım, donanıma ait parça veya kısmın yüklenici tarafından ücretsiz olarak değiştirilmesi/onarılması yoluyla giderilecektir. Cihazların tamir, bakım, değiştirilmesi işlemlerinde her türlü sigorta, nakliye, kargo ve diğer masrafları yükleniciye ait olacaktır. Garanti müddeti içinde sistemlerde özdeş bir parça veya elemanın %10 adedinde aynı karakterde meydana gelen arızalar karakteristik arıza kabul edilir. Bu arızaların giderilmesi ile kullanıcıya teslimi ve kuruluma ilişkin bütün masrafları yükleniciye ait olup, taşınabilir güneş enerji sisteminin kurulduğu alan ve ulaşım şartları dikkate alınarak meydana gelen arızalar ve masraflar en kısa zamanda yüklenici tarafından giderilecektir. DİĞER HUSUSLAR Projede kullanılacak tüm malzemeler ve sistem tasarımı; Elektrik Tesisleri Proje Yönetmeliği İle Elektrik Üretim ve Elektrik Depolama Tesisleri Kabul Yönetmeliği hükümlerine uygun olacaktır. Solar sistemlerin teslim yeri; MERSİN MERKEZ, TARSUS, SİLİFKE, ERDEMLİ ve MUT ilçe merkezlerinde, İl Tarım ve Orman Müdürlüğünce belirlenecek alanlardır. Teknik şartname ve eklerinde değinilmeyen, ancak işin tekniği ve sistemin fonksiyonel çalışması ve sorunsuz bir işletmenin tesisi açısından sistemde bulunması gereken her türlü asli ve yardımcı tüm ekipmanlar ile yapılması zorunlu olan tüm işler İdarenin lehine olan hususlar olarak kabul edilip ihale bedeli içinde yapılacaktır. Bunlarla ilgili İdareden her hangi bir ücret talep edilmeyecektir. Teknik şartnamede belirtilen iş ve grupların dışında, teknik şartname ve sözleşme eklerinde bahsi geçmeyen ancak işin bünyesi içinde yapılması zorunlu olan, her tür yardımcı malzemenin temini, Mersin iline nakliyesi genel gider ve karları teklif edilen bedelin içinde olup, söz konusu işler firmaya ait olacaktır. Paket sistemin konstrüksiyon ile birlikte çalışır halde, MERSİN MERKEZ, TARSUS, SİLİFKE, ERDEMLİ ve MUT İlçe merkezlerinde Mersin İl Tarım ve Orman Müdürlüğü’nün belirlediği alanlarda ve sayılarda teslim edilmesi, burada göçer ailelere kullanım ve kurulum hakkında bilgi ve eğitimlerinin verilmesi ve diğer sistem gereksinimleriyle bütün iş ve işlemler yüklenici sorumluluğunda olup ek bedel alınmaksızın gerçekleştirilecektir. Kurulum sonrasında güneş paneli siteminin çalışmaması durumunda, sistemin değiştirilmesi-tamiri yüklenici tarafından gerçekleştirilecektir. Bunlarla ilgili her hangi bir ücret talep edilmeyecektir. İşin teslimi sırasında oluşabilecek her türlü zarar ve ziyandan firma sorumlu olacak olup; tespit edilecek hasar firmadan tazmin edilecektir. Teklif veren istekliler solar paneller ile ilgili üretici firmaya ait; Kapasite Raporunu ve İmalat Belgesini sözleşme imza aşamasında sunmak zorundadır. Yüklenici teslim sürecinde iş güvenliği yasalarına uygunluğunu sağlayacaktır. Cihaz kullanırken can güvenliği sorumluluğu kullanıcının kendisine aittir. Taşınabilir GES sistemini oluşturan bileşenler ve bu bileşenlerin teknik özelliklerine işbu teknik şartnamede detaylı olarak yer verilmiştir. Bu özelliklerin esas alınması gerekmekle birlikte teknik özelikler içinde yer verilmeyen tasarıma ilişkin hususlarda ilgililerce, pazarda/uygulamada cari tasarım(lar)ın esas alınarak fiyat tekliflerinin oluşturulması gerekmektedir. |  |
| LOT 2 510Wp Portable Solar Power Set LOT 2 510Wp Portable Solar Power Set |
| Item to be supplied description// Tedarik edilecek ürün tanımı | Set Content // Set İçeriği | Quantity // Miktar |
| SOLAR PANEL (3 x 170 Wp) Polycrystalline 510Wp | 3 X 170Wp | 197 Sets // 197 Set |
| Full sine 12 VDC-220VAC Inverter with min. Power of 1000 watts Smart type with built-in solar charge controller | 1 unit |  |
| Deep Discharge Gel Battery 200 Ah 2x100 Ah or 1x200 Ah) | 1 X 200Ah or // veya 2 X 100Ah |  |
| METAL PANEL ELECTRIC CABLING | 1 unit |  |
| ALUMINIUM TABLE SYSTEM PV Assembly | 1 unit |  |
| Technical Specifications Teknik Şartname | Offered technical specifications by the Bidder shall be inserted in English. Firma tarafından teklif edilen teknik özellikler İngilizce olarak verilmelidir. |
| SOLAR PANEL (PV MODULE) PV modules shall have an instantaneous power output tolerance within the range of [0, + 5Wp]. All PV modules must have ‘higher than the nominal value’ of the flash test power output report in the manufacturing factory. Negative power tolerance shall not be accepted. The PV panel type to be used shall have a polycrystalline structure. The power of the PV Solar Panel (Solar Module) must be 170 Wp x 3 units in total 510 Wp. PV modules must be of identical / same brand PV module manufacturers. All Solar PV modules shall be at the same brand, type and power. The connectors of the PV modules must be from the original MC4 family. The connectors to be used in the DC system shall be of the same brand and model and must be identical. The connectors of the PV modules shall comply with IP67 water resistance standard. PV Module efficiency Standard Test Conditions (Standard Test Conditions: shall be at least 17% under 1000W/m² radiation, 25 ºC module temperature and AM=1.5 spectrum), and PV panels with an efficiency of less than 17% shall not be accepted. Against power drops caused by shadowing, at least 2 of the PV Modules shall have by-pass protections. PV modules shall be protected so that no flow is present when energy is not produced. The front windows of the PV modules shall be resistant to external stresses. (For example, the glass shall not break easily in case of throwing rocks or against impacts such as ice and hail). PV modules and fasteners shall have wind resistance with a capacity to withstand at least 130 km/hour wind. PV Modules shall be able to withstand a wind load of min. 2400 Pa and a snow load of min. 5400 Pa. The junction box of the PV module must have at least IP 67 protection class and should not have a loosening lid problem at hot or cold weathers. The (+) and (-) poles of the PV Module direct current output cables and convectors shall be easily distinguishable. The direct current output cables of the PV Module shall be 2 cables (one red and one black) with a length of at least 10 meters for each pole, in compliance with TS EN50525-2-11 standard or foreign/international equivalent standard, with a minimum cross-section of 6 mm². Frames mounted with bolts on solar panels shall not be accepted. Panel frames must be pressed and at the same time punched. The frame of the PV Modules shall be made of corrosion-resistant material and stainless steel (anodized Aluminium). PV Modules: shall operate smoothly between -40 °C and +85 °C operating temperature and it shall work smoothly in 0-90% relative humidity. The warranty documents given by the manufacturer for the Modules offered. When necessary, values under normal operating conditions may also be requested. The production date of the PV modules to be used in the solar energy system shall be 2021 or later. The lifespan of the PV Array must have a minimum of 10 years of mechanical and 25 years of performance warranty. Linear energy guarantee shall be such that it shall provide at least 90% of the panel power at the end of 10 years and at least 80% at the end of 25 years. Linear guarantee for panels must be presented in the offer. On each PV module, there shall be at least 2 serial number barcodes (one in the window of the module) and 1 label. The PV module label shall comprise, including but not limited to, the following: 1.18.1. Vmpp, Voc Impp, Ioc, Pmpp, NOCT values Max operating voltage value Length, weight data Power tolerance Quality class Test conditions (STC) (Radiation temperature humidity) Brand, model, serial number information Must include CE sign Country of Production Manufacturing company name During the construction of the panels, the logos of the Ministry of Agriculture and Forestry, IFAD, UNDP and URDP Project shall be prepared to be clearly visible after applying an in-glass lamination process inside the panels. The serial number of each panel shall be readable in the window and the test report shall be arranged according to the serial number. At the time of delivery, the contractor company must provide the laboratory test results of the panels. The name and surname of the farmer and project number shall be tagged on the Panel Frames by a fixed and permanent method. INVERTER (Inverter, FULL SINUS) It shall have a nominal power of 1000W, input voltage shall be: 12 Volt DC voltage, output voltage shall be 220/230 Volt AC 50 Hertz. The inverter shall have overload, high temperature, low battery voltage protections. The inverter shall have an operating temperature range of 0 to +40 ˚C and shall be able to operate at a maximum relative humidity of 90%. The inverter shall have a minimum efficiency of 90%. Inverters shall be able to operate with gel battery. In case of overload, overvoltage and short circuit, it shall protect the system and restart the inverter. It must be able to give an audible warning in case of overload and heating. The inverter’s voltage input must be in the range of at least 10.5 VDC - maximum 16 VDC. It must have Low voltage alarm (9.5 V+,-) to protect the battery. It must have protection fuses. FS inverter must have a CE sign. The inverter must be guaranteed for at least 2 years. It shall have a built-in 50 amp PWM solar charge control unit. GEL BATTERY Batteries shall be long-lasting, suitable for solar energy system, maintenance-free, and since the system will operate in a closed cabinet, the accumulators shall be in gel form. It shall have a reliable constant output current. Batteries to be used shall be resistant to deep discharge and shall have an enclosed structure. It shall have stable performance. The number of battery cycles must be> 1000 at the 50% DOD level. It shall be 100% maintenance-free. A 2-year warranty must be given by the manufacturer. Batteries shall work smoothly at 0 - 90% relative humidity at an ambient temperature range of 0 to + 50° C, when it is installed at an elevation of 0-2000 m. The operating voltage shall be at least 12 VDC. The battery shall be at least 100 Ah. There shall not be more than 120 days of difference between the date of manufacture of the batteries and the date of delivery to the administration. The name of the manufacturer company, date of manufacture, nominal voltage, "+" and "-" signs and voltage shall be indelibly written on the accumulator. SOLAR CABLE The PV energy cables on the PV module shall be resistant to high temperature and heat, UV-resistant, double insulated, halogen-free, lead-free, and shall be produced in accordance with TS EN 60228 standard or foreign/international equivalent standard. Solar cables shall be used at an operating temperature of 90°C without any problem. In the PV - solar cable and solar cable-charge regulator- inverter connections, MC4 type male and female type connectors shall be used. Connectors, special fasteners and sockets shall be suitable for an operating temperature range of -40°C to + 90°C, suitable for high current and approved type. PV SUB-CONSTRUCTION Solar energy panels shall be designed in a portable manner. The construction to be used in the system shall be in an easily mountable form. It should be in a manner so that it can be demounted and mounted when needed. The panels shall be mounted by connecting to aluminium rails with connection apparatus (clamps). The rails shall be designed in a way that they will be connected to triangle legs. The triangle legs shall be made from stainless material BOARD -ELECTRIC INSTALLATION Boards must be suitable for carrying, with handles and covers. There must be air intake channels to prevent overheating. On the surface of the board, there must be 220 AC output, and at least 1 piece of Socket with child protection, necessary warning label and fuse protection. The boards shall bear metal tags containing the date of manufacture, model and serial numbers, and these tags must be visible on the board. All warning, death danger signs, operating instructions and warning instructions plates that must be present on the board and other main components (equipment) shall be properly attached. It shall allow the charge regulator screen to be seen on the cover. It shall be designed so that all switches and screens are on the outer cover. All components (Battery-Inverter-Charge Regulator) shall be fixed so that the components are not damaged during transportation. The board must be manufactured of at least 0.8 mm DKP sheet metal. Boards shall be painted in appropriate colours as defined by the Administration. In order to transfer energy between the board and panel, solar PV type cable must be placed according to the construction approved by the administration. For visibility, the phrase "Kırsal Dezavantajlı Alanlar Kalkınma Projesi Adana-2022" with corporate logos on the boards must be written by paint, plate, or sticker. The plates used must be prepared in an easily readable size and mounted in such a way that they cannot fall. If paint or stickers are to be used, they must be prepared in easily readable sizes, and they must be long-lasting by using materials that shall not fade. The placement of the components (equipment) in the board shall be designed in such a way that the board shall not be damaged during the transportation. All electrical and electronic devices belonging to the solar energy system to be installed and the cabinets which will contain them, all carrier construction, metal parts and auxiliary metal mounting materials shall be grounded. Grounding in accordance with the standards shall be made on both DC side and AC side by the contractor. GENERAL GUIDELINES All materials and equipment shall be manufactured and installed in accordance with the production techniques in the electrical manufacturing and installation industry and shall comply with the standards stipulated in the respective item. In case a standard listed within this Technical Specifications is abolished or cancelled, the standard replacing it will be considered suffice. If identical or similar in terms of quality or characteristics of the devices offered by the bidders cannot be found, it shall substitute with the higher quality ones upon the approval of the administration and shall not request any cost for this. The system components to be installed shall have a product warranty of at least 2 (two) years on part basis. All devices to be used in the system shall be brand new and unused, with information such as signs, letters, numbers etc. indicating the brand, model, and date of manufacture. Malfunctions in portable solar energy systems shall be fixed by the contractor as soon as possible in accordance with the beneficiary's residence conditions. The contractor company has to deliver the subject matter systems at Adana Provincial Agriculture and Forestry Directorate, within 90 days after signing the contract. The default penalty specified in the contract shall be applied for each day of delay. The assembly, installation, operation, fault detection and maintenance manual of all equipment shall be in Turkish and English and shall be delivered on the date of signing. Damages detected during the delivery of Portable Solar Energy panels shall be repaired by the contractor. There shall be no foreign substances (oil, dirt, metallic residue, etc.) on all parts before assembly. The accuracy of the power of the solar panels to be procured within the scope of the tender must be submitted and delivered to the Provincial Directorate of Agriculture and Forestry, where the FLAŞ Test (I-V CURSE Test as well as the ELECTROLYMUNANCE (EL) Test for cellular cracks and durability in solar panels). The Contractor shall demonstrate 1 unit of prototype solar energy set to the Control Engineer of the administration, prior to the delivery of the solar energy sets to the administration. WARRANTY CONDITIONS All equipment and tools used in the system (including workmanship quality) shall be flawless, new and of first quality. When the materials used (including any part) fail due to design, workmanship or material quality within the warranty periods, the contractor shall be obliged to supply and install the same material. The warranty periods of the components to be used in the system, starting from the temporary acceptance date of the PV System, shall be as follows: Photovoltaic solar panels; 10 years physical resistance (mechanical, electrical-electronic etc.) warranty certificate or letter of undertaking Solar panel sub-construction; 2 years. Invertors; 2 years Other sections / parts; 2 years Defects and malfunctions, other than due to force majeure and user errors, that occur within the scope of the warranty period shall be remedied by reparation/replacement of the broken hardware, parts, or sections by the contractor free of charge. All kinds of insurance, transportation, cargo and other expenses in the repair, maintenance, replacement of the devices shall be borne by the contractor. Failures with the same character occurring in 10% of an identical part or element in the systems during the warranty period are considered characteristic failures. The costs related to solving these malfunctions, along with delivery to the user and setup costs shall be under the responsibility of the contractor, and the malfunctions and costs that occur shall be remedied by the contractor as soon as possible considering the area where the portable solar energy system is installed and the transportation conditions. OTHER ISSUES All materials and system design to be used in the project; shall comply with the provisions of the Electricity Facilities Project Regulation and the Electricity Generation and Electricity Storage Facilities Acceptance Regulation. The place of delivery of solar systems is Adana Provincial Directorate of Agriculture and Forestry. All kinds of essential and auxiliary equipment and mandatory works that are not mentioned in the technical specification and its annexes, but which are required by the technique of the work and for the functional operation of the system and for the establishment of a problem-free operation, shall be considered as matters in favour of the Administration and shall be carried out within the tender price. No fee shall be requested from the Administration regarding these. Except for the works and groups specified in the technical specification, the procurement, delivery to Adana Province, overhead and profits of all kinds of auxiliary materials, which are not mentioned in the technical specifications and contract annexes, but which are required to be made within the scope of the work, are included in the price offered, and the said works shall be under the liability of the company. Delivery of the package system to nomad families at Adana Provincial Agriculture and Forestry Directorate, making the system functional together with the construction, training the relevant user and all other system requirements as well as all works and transactions shall be under the liability of the contractor, and they shall be carried out without any additional cost. In case the solar panel system does not work after installation, the contractor will undertake the change/repair of the system. No cost will be requested for these. The company shall be responsible for any damage and loss that may occur during the delivery of the work at Adana Provincial Directorate of Agriculture and Forestry; the damage to be determined shall be compensated by the company. Bidders who submit bids must submit Capacity Report and Manufacturing Certificate related to the manufacturing company regarding solar panels, at the time of contract signature. The contractor shall ensure compliance with occupational safety laws during the delivery process. While using the device, life safety responsibility belongs to the user. Components forming the portable solar power system, along with the technical specifications of these components have been stipulated within the technical specifications in detail. Apart from taking these specifications into consideration, the bidders should also take the prevailing designs in market/practice into consideration for issues regarding design which have not been stipulated within the technical specifications. | SOLAR PANEL (FV MODÜL) FV modüller, [0, + 5Wp] anlık çıkış gücü toleransı içinde olmalıdır. Tüm FV modülleri, imalat fabrikasında flaş testinin güç çıkış raporunun 'nominal değerinden yüksek' olacaktır. Negatif güç toleransı kabul edilmeyecektir. Kullanılacak FV Panel tipi polikristal yapıda olacaktır. FV güneş paneli (Solar Modül) gücü en az 170 Wp x 3 adet toplam 510 Wp olmalıdır. FV modüller özdeş / aynı marka FV modül üreticilerinden olmalıdır. Tüm Solar FV modülleri aynı marka, aynı tip ve güçte olacaktır. FV modüllerinin konnektörleri orijinal MC4 familyasından olmalıdır. DC sistemde kullanılacak konnektörler aynı marka, model ve özdeş olmalıdır. FV modüllerin konnektörleri IP67 suya dayanıklılık standardını sağlamalıdır. FV modül verimi Standart Test Koşulları (Standart Test Koşulları: 1000W/m2 ışınım, 25 ºC modül sıcaklığı ve AM=1,5 spektrum) altında en az %17 olacaktır, verimliliği %17’nin altında olan FV paneller kabul edilmeyecektir. Gölgelenmenin neden olduğu güç düşüşlerine karşı, FV modüller az 2 adet by-pass diyotlu olacaktır. Enerjinin üretilmediği durumda FV modüllere akım geçişi olmayacak şekilde koruma yapılacaktır. FV modüllerinin ön camları harici olarak uygulanacak zorlamalara karşı dayanıklı olacaktır. (Örneğin taş atılması durumunda veya buz, dolu gibi parça darbelerine karşı cam kolaylıkla kırılmayacak yapıda olacaktır). FV Modüller ve bağlantı elemanları en az 130 km/saat hızındaki rüzgara dayanabilecek kapasitede rüzgar direncine sahip olacaktır. FV Modüller min. 2400 Pa rüzgar yüküne ve min 5400 Pa kar yüküne dayanabilecek yapıda olacaktır. FV Modül bağlantı kutusu (Junction Box) en az IP 67 koruma sınıfında olmalı ve sıcak veya soğuk havalarda kapak düşme sorunu olmamalıdır. FV Modül doğru akım çıkış kabloları ve konvektörlerinin (+) ve (-) kutupları ayırt edilebilir yapıda olacaktır. FV Modül doğru akım çıkış kabloları her bir kutup için en az 10 metre uzunlukta, TS EN50525-2-11 standardına ya da yabancı/uluslararası dengi standarda uygun olmalıdır, minimum 6 mm² kesitinde 2 adet (1 adet kırmızı renkli ve bir adet siyah renkli) kablo olacaktır. Güneş panellerinde civatalı olarak montajlanmış çerçeveler kabul edilmeyecektir. Panel çerçeveleri preslenmiş, aynı zamanda punch işlemi de görmüş olmalıdır. FV Modüllerinin çerçevesi korozyona dayanıklı malzemeden imal edilmiş ve paslanmaz yapıda (anodize Alüminyum) olacaktır. FV modüller: -40 °C ile + 85 °C sıcaklık aralığında ve %0 -90 bağıl nem aralığında sorunsuz çalışacaktır. Teklif edilen modüller için üreticinin vereceği garanti belgeleri. Gerektiğinde Normal çalışma koşullarındaki değerlerde istenebilecektir. Güneş enerji sisteminde kullanılacak FV modüllerin üretim tarihi 2021 veya sonrasında olacaktır. FV modüllerinin ömrü minimum 10 yıl mekanik ve 20 yıl performans garantisine sahip olmalıdır. Lineer enerji garantisi, panel gücünün 10 yıl sonunda en az %90'ını ve 20 yıl sonunda en az %80'ini sağlayacak şekilde olacaktır. Panellerin lineer garantisi teklifte sunulmalıdır. FV modüllerin her birinde en az 2 adet (Biri modülün camının içinde olacak) seri numarası barkodu ve 1 adet etiket bulunmalıdır. FV modül etiketi bunlarla sınırlı olmamak üzere en az aşağıdakileri içerecektir: Vmpp, Voc Impp, Ioc, Pmpp, NOCT değerleri Maks çalışma gerilimi değeri Uzunluk, ağırlık verileri Güç toleransı Kalite sınıfı Test koşulları (STC) (Işınım sıcaklık nem) Marka, model, seri numarası bilgileri CE işareti olmalıdır Üretilen ülke Üretici firma ismi Panellerin imalatı sırasında, Tarım ve Orman Bakanlığı, IFAD, UNDP ve KDAK Projesi logoları panellerin içine cam içi laminasyon işlemi uygulanarak net olarak görülecek şekilde hazırlanacaktır. Her bir panelin mutlaka seri numarası cam içinde okunur şekilde olacak ve test raporu seri numarasına göre düzenlenecektir. Teslim sırasında yüklenici firma panellere ait laboratuar test sonuçlarını vermek zorundadır. Panel Çerçevelerine sabit ve kalıcı etiket yöntemiyle, çiftçinin adı, soyadı proje numarası yazılacaktır. EVİRİCİ (Evirici, TAM SİNÜS) Nominal 1000W gücünde, giriş gerilimi:12 Volt DC gerilimi, çıkış gerilimi:220/230 Volt AC 50 Hertz olacaktır. Evirici, aşırı yük, yüksek sıcaklık, düşük akü voltajı korumalarına sahip olacaktır. Evirici çalışma sıcaklığı aralığı 0,+40 °C olacak ve maksimum %90 bağıl nemde çalışabilecektir. Evirici, verimi minimum %90 olacaktır. Eviriciler, jel aküyle çalışabilecek yapıda olacaktır. Aşırı yük, gerilim ve kısa devre durumunda sistemi korumaya alarak eviriciyi yeniden başlayacaktır. Aşırı yük ve ısınma durumunda sesli ikaz verebilmelidir. Evirici voltaj girişi en az 10.5 VDC - en çok 16 VDC aralığında olmalıdır. Aküyü korumak için Düşük voltaj alarmına (9.5 V+,-) haiz olmalıdır. Koruma sigortalarına sahip olmalıdır. TS evirici CE işareti taşımalıdır. Evirici en az 2 yıl garantili olmalıdır. Dahili 50 amper PWM solar şarj kontrol ünitesine haiz olacaktır. JEL AKÜ Aküler uzun ömürlü güneş enerjisi sistemine uygun, bakım gerektirmeyen ve sistem kapalı bir kabin içerisinde çalışacağında akümülatörler jel yapıda olacaktır. Güvenilir sabit çıkış akımı olacaktır. Kullanılacak olan aküler derin deşarjla dayanıklı ve kapalı yapıda olacaktır. İstikrarlı performansa sahip olacaktır. Aküler döngü sayısı %50 DOD Seviyesinde >1000 olmalıdır. %100 bakım gerektirmeyecektir. Üretici tarafından 2 yıl garanti verilmelidir. Aküler; 0 ve +50 °C ortam sıcaklığında, 0-2000 m Yükseklikte kurulu bulunduğu hallerde, %0-90 Bağıl nem oranında sorunsuz çalışacaktır. Çalışma gerilimiı en az 12 VDC olacaktır. Akü en az 100 Ah olacaktır. Akülerin imalat tarihi ile idareye teslim tarihi arasında 120 günden fazla olmayacaktır. Akümülatör üzerine imalatçı firma adı, imalat tarihi Nominal gerilimi ''+'' ve ''-'' işaretleri, gerilimi silinmeyecek şeklide olacaktır. SOLAR KABLO FV modül üzerindeki FV enerji kabloları yüksek sıcaklık ve ısıya dayanıklı, UV dirençli, çift izoleli, halojensiz, kurşunsuz, TS EN 60228 standardına veya yabancı/uluslararası dengi standarda uygun olarak üretilmiş olacaktır. Solar kablolar 90 °C çalışma sıcaklığında sorunsuz kullanılacaktır. FV- solar kablo ve solar kablo -şarj regülatörü -inverter bağlantılarında MC4 tipi erkek ve dişi tip konnektörler kullanılacaktır. Konnektörler, özel bağlantı elemanları ve soketler -40 °C ile +90 °C arası işletme sıcaklığına uygun, yüksek akıma uygun, onaylı olacaktır. FV ALT KONSTRÜKSİYON Güneş enerji panelleri, taşımaya uygun bir şekilde tasarlanmış olacaktır. Sistemde kullanılacak konstrüksiyon kolay montaj yapılacak yapıda olacaktır. Gerektiğinde sökülüp takılabilecek şekilde montaja uygun olacaktır. Paneller Alüminyum raylara bağlantı aparatları ile tutturulup (Tutucu-clamp) montaj edilecektir. Raylar üçgen ayaklara monte edilecek şekilde tasarlanacaktır. Üçgen ayaklar paslanmaz malzemeden olacaktır. PANO -ELEKTRİK TESİSATI Panolar taşımaya uygun, kulplu, kapaklı olmalıdır. Aşırı ısınmayı önlemek için hava giriş kanalları olmalıdır. Pano yüzeyinde olacak şekilde topraklı 220 AC çıkışı çocuk korumalı, gerekli ikaz etiketli ve sigorta korumalı en az 1 adet Priz olmalıdır. Panoların üzerinde; üretim tarihi model ve seri numaraları içeren metal etiket olmalıdır ve bu etiketler panonun görülebilecek yerinde olmalıdır. Pano ve diğer ana komponentler (ekipmanlar) üzerinde bulunması gereken tüm ikaz, ölüm tehlike levhası, kullanma talimatı ve uyarı talimatı plakaları uygun şekilde takılacaktır. Kapağında şarj regülatörünün ekranını görebilecek şekilde olacaktır. Bütün anahtar ve ekranlar dış kapak üzerinde olacak şekilde tasarlanacaktır. Taşıma sırasında bileşenler zarar görmesin diye tüm bileşenler (Akü-Evirici-Şarj Regülatörü) sabitlenmiş olacaktır. Pano en az 0,8 mm DKP sac ile imal edilmelidir. Panolar İdare tarafından uygun görülen renklere boyanmış şekilde teslim edilecektir. Panel ile pano arasına enerji aktarımını sağlamak için idarenin onay verdiği konstrüksiyona göre solar FV tipi kablo konulmalıdır. Görünürlük için panoların üzerine “Kırsal Dezavantajlı Alanlar Kalkınma Projesi Adana-2022” ibaresi boya, plaka ya da çıkartma ile yazılmalıdır. Kullanılan plakalar kolay okunabilir boyutta hazırlanmalı ve düşmeyecek şekilde monte edilmelidir. Boya veya çıkartma kullanılacaksa kolay okunabilir boyutlarda hazırlanmalı silinmeyecek solmayacak malzemeler kullanılarak uzun ömürlü olması sağlanmalıdır. Pano içerisindeki komponentlerin (ekipmanların) yerleşimi panonun taşınması sırasında zarar görmeyecek şekilde tasarlanacaktır. Kurulacak güneş enerji sistemine ait tüm elektrikli ve elektronik cihazlarla, bunların içine konulacağı kabinler, tüm taşıyıcı metal aksamlar, konstrüksiyon ile metal aksamlar, tüm yardımcı metal montaj malzemeleri topraklanacaktır. Hem DC tarafta hem de AC tarafta standartlara uygun topraklamalar yüklenici tarafından yapılacaktır. GENEL ESASLAR Tüm malzeme ve teçhizat, elektrik imalat ve tesisat endüstrisindeki üretim tekniklerine uygun olarak imal ve tesis edilecek ve ilgili maddelerde belirtilen standartlara uygun olacaktır. İhale sürecinde işbu teknik şartnamede belirtilen bir standardın yürürlükten kalkması veya iptal edilmesi durumunda yerine geçen standarda uygunluk da yeterli kabul edilecektir. İsteklilerin teklif ettikleri cihazların kalite veya hususiyet itibariyle aynısı veya benzeri bulunmadığı taktirde, daha yüksek kalitede olanları idarenin onayı ile teslim edecek ve bu bunun için herhangi bir ücret talebinde bulunamayacaktır. Kurulacak sistem elemanları parça bazında en az 2 (iki) yıl ürün garantisine sahip olacaktır. Sistem içerisinde kullanılacak tüm cihazlar, yeni (brand new) ve kullanılmamış (unused) olacak, üzerlerinde marka, model ve imal tarihini gösteren işaret, yazı, rakam vs. türünden bilgiler bulunacaktır. Taşınabilir Güneş enerji sistemlerinde meydana gelecek arızalar yüklenici tarafından yararlanıcının ikamet şartlarına uygun olarak en kısa zamanda giderilecektir. Yüklenici firma sözleşmeyi imzaladıktan sonra 90 gün içinde işleri Adana İl Tarım ve Orman Müdürlüğünde teslim edecektir. Geciken her gün için sözleşmede belirtilen gecikme cezası uygulanır. Bütün ekipmanların montajı, kurulumu, işletimi, arıza tespiti ve bakım el kitabı Türkçe ve İngilizce olacaktır ve imza tarihinde teslim edilecektir. Taşınabilir Güneş Enerji panellerinin teslimi sırasında tespit edilen zararların yüklenici tarafından onarımı yapılacaktır. Montaj öncesinde tüm parçaların üzerinde herhangi bir yabancı madde (yağ, kir, metalik kalıntı, vs.) olmayacaktır. İhale kapsamında temin edilecek solar panellerin güçlerinin doğruluğu FLAŞ Test (I-V CURSE Testi ayrıca solar panellerde hücresel çatlak ve sağlamlık için ELEKTROLÜMÜNANS (EL) Testinin) belgelenmesinin panellerin tesliminin yapılacağı İl Tarım ve Orman Müdürlüğüne teslim edilmesi gerekmektedir. Yüklenici, güneş enerji setlerini idareye teslim etmeden önce 1 adet prototip güneş enerjisi setinin demonstrasyonunu idare Kontrol Mühendisine yapacaktır. Prototip setin, işbu şartnamede belirtilen teknik kriterlere uygun olduğunun tespiti akabinde, bu prototipe göre üretilen güneş enerjisi setleri muayene ve kabul yapılmak üzere idareye teslim edilecektir GARANTİ KOŞULLARI Sistemde kullanılan bütün ekipman ve araçlar (işçilik kalitesi dahil) hatasız, yeni ve birinci kalitede olacaktır. Kullanılan malzemeler (herhangi bir parçası dahil) garanti periyotları içerisinde tasarım, işçilik veya malzeme kalitesinden dolayı arızalandıklarında, yüklenici aynı malzemeyi temin edip kurmakla yükümlü olacaktır. Sistemde kullanılacak komponentlerin, FV Sistem geçici kabul tarihinden itibaren, garanti periyotları aşağıdaki şekilde olacaktır: Fotovoltaik güneş panelleri; 10 yıl fiziksel dayanım (mekanik, elektrik-elektronik vb.) garanti belgesi veya taahhütnamesi Güneş paneli alt konstrüksiyonu; 2 yıl. İnverterler; 2 yıl Diğer kısımlar/parçalar; 2 yıldır Garanti süreleri kapsamında meydana gelen mücbir sebepler ve kullanıcı hataları dışındaki kusur ve arızalar, arızalanan donanım, donanıma ait parça veya kısmın yüklenici tarafından ücretsiz olarak değiştirilmesi/onarılması yoluyla giderilecektir. Cihazların tamir, bakım, değiştirilmesi işlemlerinde her türlü sigorta, nakliye, kargo ve diğer masrafları yükleniciye ait olacaktır. Garanti müddeti içinde sistemlerde özdeş bir parça veya elemanın %10 adedinde aynı karakterde meydana gelen arızalar karakteristik arıza kabul edilir. Bu arızaların giderilmesi ile kullanıcıya teslimi ve kuruluma ilişkin bütün masrafları yükleniciye ait olup, taşınabilir güneş enerji sisteminin kurulduğu alan ve ulaşım şartları dikkate alınarak meydana gelen arızalar ve masraflar en kısa zamanda yüklenici tarafından giderilecektir DİGER HUSUSLAR Projede kullanılacak tüm malzemeler ve sistem tasarımı; Elektrik Tesisleri Proje Yönetmeliği ile Elektrik Üretim ve Elektrik Depolama Tesisleri Kabul Yönetmeliği hükümlerine uygun olacaktır. Solar sistemlerin teslim yeri Adana İl Tarım ve Orman Müdürlüğü’dür. Teknik şartname ve eklerinde değinilmeyen, ancak işin tekniği ve sistemin fonksiyonel çalışması ve sorunsuz bir işletmenin tesisi açısından sistemde bulunması gereken her türlü asli ve yardımcı tüm ekipmanlar ile yapılması zorunlu olan tüm işler İdarenin lehine olan hususlar olarak kabul edilip ihale bedeli içinde İdareden herhangi bir ücret talep edilmeyecektir. Teknik şartnamede belirtilen iş ve grupların dışında, teknik şartname ve sözleşme eklerinde bahsi geçmeyen ancak işin bünyesi içinde yapılması zorunlu olan, her tür yardımcı malzemenin, temini, Adana iline nakliyesi genel gider ve karları teklif edilen bedelin içinde olup, söz konusu işler firmaya ait olacaktır. Paket sistemin konstrüksiyon ile birlikte çalışır halde, Adana İl Tarım ve Orman Müdürlüğünde konar göçer ailelere teslim edilmesi, burada göçer ailelere kullanım ve kurulum hakkında bilgi ve eğitimlerinin verilmesi ve diğer sistem gereksinimleriyle bütün iş ve işlemler yüklenici sorumluluğunda olup ek bedel alınmaksızın gerçekleştirilecektir. Kurulum sonrasında güneş paneli siteminin çalışmaması durumunda, sistemin değiştirilmesi-tamiri yüklenici tarafından gerçekleştirilecektir. Bunlarla ilgili her hangi bir ücret talep edilmeyecektir. İşin Adana İl Tarım ve Orman Müdürlüğünde teslimi sırasında oluşabilecek her türlü zarar ve ziyandan firma sorumlu olacak olup; tespit edilecek hasar firmadan tazmin edilecektir. Teklif veren isteklilerin solar panellere ile ilgili üretici firmaya ait; Kapasite Raporunu ve İmalat Belgesini sözleşme imza aşamasında sunması gerekmektedir. Yüklenici teslim sürecinde iş güvenliği yasalarına uygunluğunu sağlayacaktır. Cihaz kullanırken can güvenliği sorumluluğu kullanıcının kendisine aittir. Taşınabilir GES sistemini oluşturan bileşenler ve bu bileşenlerin teknik özelliklerine işbu teknik şartnamede detaylı olarak yer verilmiştir. Bu özelliklerin esas alınması gerekmekle birlikte teknik özelikler içinde yer verilmeyen tasarıma ilişkin hususlarda ilgililerce, pazarda/uygulamada cari tasarım(lar)ın esas alınarak fiyat tekliflerinin oluşturulması gerekmektedir. |  |

Product catalogue/brochure of the proposed brand/model showing detailed technical specifications of the goods should be submitted.

| Other Related services and requirements (Based on the information provided in Section 5b) | Compliance with requirements | Details or comments on the related requirements |
| --- | --- | --- |
|  | Yes, we comply. | No, we cannot comply. (Indicate discrepancies) |  |
| Delivery of Each Item within 90 days following the signature of the contract |  |  |  |
| All items shall have at least 2 years manufacturer warranty. Photovoltaic solar panels shall have at least 10 years physical resistance (mechanical, electrical-electronic) warranty |  |  |  |

FORM F: Price Schedule Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | UNDP-TUR-ITB(UR)-2022-122 |

The Bidder is required to prepare the Price Schedule following the below format by inserting the proposed make and model of each product along with the unit price and total price of the Set.

The price shall not include value added tax (VAT) since UN and its subsidiary organs are exempt from all

taxes except the special consumption tax.

Currency of the Bid: USD or TRY

*Bidders shall indicate the offered currency in the unit price and total price sections in below table.

Price Schedule for LOT 1: 340Wp Portable Solar Power Set

| Description of Goods | Set Content | Quantity | Unit Price per Item | Total Price of Items |
| --- | --- | --- | --- | --- |
| LOT 1 |
| Min. 340 Wp (Single or 2x170 Wp) Polycrystalline Solar Module | 1 X 340Wp or 2 X 170Wp | 630 sets |  |  |
| MS 1200 W Modified Sine Inverter | 1 unit |  |  |  |
| 20A 12/24 V Charge Regulator (with MPPT feature and LCD screen) | 1 unit |  |  |  |
| 200Ah Gel Battery (2x100 Ah or 1x200 Ah) | 1 X 200Ah or 2 X 100Ah |  |  |  |
| PV substructure / Panel-Electric Cabling (including consumables such as battery cable, protection fuse, cable duct, battery terminals or lugs) | 1 unit |  |  |  |
| Total Final and All-Inclusive Price Quotation - for LOT 1 |  |

*All-inclusive Financial Bid shall be exclusive of VAT and shall include all related costs for fulfilment of the requirements stipulated in the ITB. Contractor shall not be entitled to receive any amount beyond All-inclusive Financial Proposal proposed above.

Name of Bidder: 		________________________________________________

Authorised signature: 		________________________________________________

Name of authorised signatory:	________________________________________________

Functional Title:			________________________________________________

Currency of the Bid: USD or TRY

Bidders shall indicate the offered currency in the unit price and total price sections in below table.

Price Schedule for LOT 2: 510Wp Portable Solar Power Set

| Description of Goods | Set Content | Quantity | Unit Price per Item | Total Price of Items |
| --- | --- | --- | --- | --- |
| LOT 2 |
| SOLAR PANEL (3 x 170 Wp) Polycrystalline 510Wp | 3 X 170Wp | 197 sets |  |  |
| Full sine 12 VDC-220VAC Inverter with min. Power of 1000 watts Smart type with built-in solar charge controller | 1 unit |  |  |  |
| Deep Discharge Gel Battery 200 Ah (2x100 Ah or 1x200 Ah) | 1 X 200Ah or 2 X 100Ah |  |  |  |
| METAL PANEL ELECTRIC CABLING | 1 unit |  |  |  |
| ALUMINIUM TABLE SYSTEM PV ASSEMBLY | 1 unit |  |  |  |
| Total Final and All-Inclusive Price Quotation for LOT 2 |  |

*All-inclusive Financial Bid shall be exclusive of VAT and shall include all related costs for fulfilment of the requirements stipulated in the ITB. Contractor shall not be entitled to receive any amount beyond All-inclusive Financial Proposal proposed above.

Name of Bidder: 		________________________________________________

Authorised signature: 		________________________________________________

Name of authorised signatory:	________________________________________________

Functional Title:			________________________________________________

FORM G: Form of Bid Security

Bid Security must be issued using the official letterhead of the Issuing Bank.

Except for indicated fields, no changes may be made on this template.

To:	UNDP

WHEREAS [Name and address of Bidder] (hereinafter called “the Bidder”) has submitted a Bid to UNDP dated  to execute goods and/or services [Insert Title of Goods and/or Services] (hereinafter called “the Bid”):

AND WHEREAS it has been stipulated by you that the Bidder shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security if the Bidder:

- Fails to sign the Contract after UNDP has awarded it;

- Withdraws its Bid after the date of the opening of the Bids;

- Fails to comply with UNDP’s variation of requirement, as per ITB instructions; or

- Fails to furnish Performance Security, insurances, or other documents that UNDP may require as a condition to rendering the contract effective.

AND WHEREAS we have agreed to give the Bidder such Bank Guarantee:

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Bidder, up to a total of  such sum being payable in the types and proportions of currencies in which the Price Bid is payable, and we undertake to pay you, upon your first written demand and without cavil or argument, any sum or sums within the limits of  without your needing to prove or to show grounds or reasons for your demand for the sum specified therein.

This guarantee shall be valid up to 30 days after the final date of validity of bids.

SIGNATURE AND SEAL OF THE GUARANTOR BANK

Signature: 	_____________________________________________________________

Name: 	_____________________________________________________________

Title: 	_____________________________________________________________

Date:	_____________________________________________________________

Name of Bank __________________________________________________________

Address ________________________________________________________________

[Stamp with official stamp of the Bank]