## ANNEX 3: TECHNICAL AND FINANCIAL OFFER - GOODS

Bidders are requested to complete this form, sign it and return it as part of their bid along with Annex 2: Quotation Submission Form. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

| Name of Bidder: | Click or tap here to enter text. |
| --- | --- |
| RFQ reference: | Click or tap here to enter text. | Date: Click or tap to enter a date. |

| Currency of the Quotation (VAT_EXCLUSIVE): Click or tap here to enter text. INCOTERMS: Click or tap here to enter text. |
| --- |
| Item No | Description | UOM | Qty | Unit price | Total price |
| 1. | Hybrid Solar Inverter, 70kWac | Units | 3 |  |  |
| 2. | Smart Solar MPPT 450/200-Tr VE.Can | Units | 3 |  |  |
| 3. | Gel Type Lead Acd Battery, 384V, 50kWh | Lot | 1 |  |  |
| 4. | Battery Rack, Bidder to provide battery rack dimensions. | Set | 1 |  |  |
| 5. | Silicone Adhesive | Pcs | 32 |  |  |
| 6. | 6mm² Solar Cable - for Strings | Meters | 1000 |  |  |
| 7. | Solar panel Micro DC Circuit Breaker, 550VDC or 600VDC, 20A | Pcs | 9 |  |  |
| 8. | Solar panel Surge Protection Device (SPD), 20kA | Pcs | 9 |  |  |
| 9. | Micro DC Circuit Breaker box, 6ways, Sassin B | Unit | 6 |  |  |
| 10. | DC Circuit Breaker, 550V, 60 Amperes | Pcs | 9 |  |  |
| 11. | 38sq.mm² Battery Cable | Meters | 60 |  |  |
| 12. | PVC Conduit, 25mm diameter | Pcs | 50 |  |  |
| 13. | Rapid Shutdown Device, String Level | Units | 113 |  |  |
| 14. | Rapid Shutdown Device, Disconnect Switch | Set | 1 |  |  |
| 15. | SPD for AC | Pcs | 6 |  |  |
| 16. | 14mm² Cable - for AC Output | Meters | 250 |  |  |
| 17. | 60A, 2220 Circuit Breaker - for AC Output | Pcs | 3 |  |  |
| 18. | 100kVA transformer, 400V to 13.2kV, 3phase | Unit | 1 |  |  |
| 19. | 1" dia. x 3m PVC Pipe | Pcs | 20 |  |  |
| 20. | 1" dia. PVC C-clamps | Pcs | 15 |  |  |
| Total Price |  |
| Transportation and Delivery |  |
| Insurance Price |  |
| Other Charges (specify) |  |
| Total Final and All-inclusive Price (VAT_EXCLUSIVE): |  |

Compliance with Requirements

|  | You Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter - offer |
| Minimum Technical Specifications | ☐ | ☐ | Click or tap here to enter text. |
| Delivery Terms DPU (INCOTERMS) | ☐ | ☐ | Click or tap here to enter text. |
| Delivery Lead Time | ☐ | ☐ | Click or tap here to enter text. |
| Warranty and After-Sales Requirements | ☐ | ☐ | Click or tap here to enter text. |
| Validity of Quotation 120 days | ☐ | ☐ | Click or tap here to enter text. |
| Payment terms | ☐ | ☐ | Click or tap here to enter text. |
| Other requirements in Terms of Reference and Other Delivery Requirements | ☐ | ☐ | Click or tap here to enter text. |

Other Information:

| Estimated weight/volume/dimension of the Consignment: | Click or tap here to enter text. |
| --- | --- |
| Country/ies of Origin: (if export licence required this must be submitted if awarded the contract) | Click or tap here to enter text. |

| I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted. |
| --- |
| Exact name and address of company Company NameClick or tap here to enter text. Address: Click or tap here to enter text. Click or tap here to enter text. Phone No.: Click or tap here to enter text. Email Address: Click or tap here to enter text. | Authorized Signature: Date: Click or tap here to enter text. Name: Click or tap here to enter text. Functional Title of Authorised Signatory: Click or tap here to enter text. Email Address: Click or tap here to enter text. |