Annex 3

Bill of Quantities (BOQ)

The Bidder is required to prepare the Bill of Quantities (BOQ) as per below provided Table of BOQ.

The BOQ must provide a detailed cost breakdown of all goods and related services to be provided, from unit price to lot prices. Separate figures must be provided for each functional grouping or category, if any.

Prices provided shall exclude VAT since UNDP is VAT exempt (relevant supporting document will be provided to the winning Bidder).

In addition to the hard copy version, please, submit CD with an Excel file containing the financial offer.

Prices offered by Bidders in the Bill of Quantity (BOQ) are fixed. Bidders should neither change the BOQ text nor work quantity while submitting the offer. In the offer, Bidders should consider all the expenses for works, including transportation costs, materials storing, work insurance, testing and putting into operation, as well as temporary works or temporary constructions if they are required.

The BOQ must be composed in current prices.

The BOQ must include information on country of origin and brand of material (where applicable) as indicated in the below Table.

Bill of Quantities (BOQ)

EMBANKMENT STRUCTURE ON LEFT BANK OF THE RIVER TSKHENISTKALI, LENTEKHI SETTLEMENT

| No | Description of works and expenditures, description of appliances | Unit of Measurement | Quantity | material | salary | mechanisms and transport | total |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | per standard unit | total | Country of Origin | Brand | unit price | total | unit price | total | unit price | total |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 |
| 1 | Preparation of the pit, by bulking excavated ground aside | 1000m3 |  | 2.00 |  |  |  |  |  |  |  |  |  |
|  | labor expenses | man/hour | 10.96 | 21.90 |  |  |  |  |  |  |  |  |  |
|  | excavator 0.65m3 | machine/hour | 24.53 | 49.04 |  |  |  |  |  |  |  |  |  |
| 2 | arranging surface under the matrass | 1000 m2 |  | 0.85 |  |  |  |  |  |  |  |  |  |
|  | bulldozer 180 hf. | machine/hour | 0.27 | 0.23 |  |  |  |  |  |  |  |  |  |
| 3 | cost of gabion stone (306+306+252)*1,01 | m3 |  | 872.64 |  |  |  |  |  |  |  |  |  |
| 4 | transportation of stone from the quarry to the site (volume weight 2.6 t/m3) | t |  | 2,268.86 |  |  |  |  |  |  |  |  |  |
| 5 | Gabion boxes 1.5X1.0X1.0 m, made of 3.7 mm galvanized wire covered with PVC, size of cell - 8X10 cm (204 units) | m3 |  | 306.00 |  |  |  |  |  |  |  |  |  |
|  | labor costs | man/hour | 4.57 | 1,398.42 |  |  |  |  |  |  |  |  |  |
|  | machinery | machine | 0.14 | 42.84 |  |  |  |  |  |  |  |  |  |
| 6 | Cost of gabion boxes d=3.7 mm size of cell 8X10 | unit |  | 204.00 |  |  |  |  |  |  |  |  |  |
| 7 | cost of connection wire Ø2.2mm (1,64 kg wire per box) | kg | 1.64 | 334.56 |  |  |  |  |  |  |  |  |  |
| 8 | Gabion boxes 2.0X.1.0X1.0m, made of 3.7 mm galvanized wire covered with PVC, size of cell -8X10 cm (153 units) | m3 |  | 306.00 |  |  |  |  |  |  |  |  |  |
|  | labor costs | man/hour | 4.57 | 1,398.42 |  |  |  |  |  |  |  |  |  |
|  | machinery | machine | 0.14 | 42.84 |  |  |  |  |  |  |  |  |  |
| 9 | Cost of gabion boxes including divides d=3.7 mm size of cell 8X10. one (1) partition per box | unit |  | 153.00 |  |  |  |  |  |  |  |  |  |
| 10 | cost of connection wire Ø 2.2mm (2,12 kg wire per box) | kg | 2.12 | 324.36 |  |  |  |  |  |  |  |  |  |
| 11 | Gabion matrasses 6.0X2.0X0.3 m, made of 3.7 mm galvanized wire covered with PVC, size of cell -8X10 cm (68+2 =70) | m3 |  | 252.00 |  |  |  |  |  |  |  |  |  |
|  | labor costs | man/hour | 4.57 | 1,151.64 |  |  |  |  |  |  |  |  |  |
|  | machinery | machine | 0.14 | 35.28 |  |  |  |  |  |  |  |  |  |
| 12 | Cost of gabion matrasses including divides d=3.7 mm size of cell 8X10. two (2) partitions per matrass | unit |  | 70.00 |  |  |  |  |  |  |  |  |  |
| 13 | cost of connection wire Ø 2.2mm (6.62 kg wire per box) | kg | 6.62 | 463.40 |  |  |  |  |  |  |  |  |  |
| 14 | set up backfilling with local soil | 1000 m3 |  | 0.80 |  |  |  |  |  |  |  |  |  |
|  | bulldozer 180 hf. | machine/hour | 0.27 | 0.22 |  |  |  |  |  |  |  |  |  |
| 15 | Surfacing the rest of ground with bulldozer | 1000m3 |  | 1.20 |  |  |  |  |  |  |  |  |  |
|  | bulldozer 180 hf. | machine/hour | 3.78 | 4.55 |  |  |  |  |  |  |  |  |  |
|  | TOTAL | currency |  |  |  |  |  |  |  |  |  |  |  |
|  | Overhead costs (%) | currency |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL | currency |  |  |  |  |  |  |  |  |  |  |  |
|  | Planned accrual (%) | currency |  |  |  |  |  |  |  |  |  |  |  |
|  | GRANT TOTAL | currency |  |  |  |  |  |  |  |  |  |  |  |